40C-3.529 Flowing Wells.

If the well flows at or below land surface, a valve shall be provided and maintained to control the discharge from the well.

Specific Authority 373.044, 373.309 FS. Law Implemented 373.206, 373.306, 373.308, 373.309, 373.113 FS. History–New 10-14-84, Formerly 40C-3.529, 40C-3.0529, Amended 9-17-89.