40C-3.532 Violations of Well Construction Standards.

(1) Actions, omissions, or conduct which may be considered as violations for the purposes of this part shall include, but are not limited to, the following:

(a) Failure to comply with any of the construction standards outlined in this part, or Chapters 62-532 and 62-555, F.A.C.

(b) Failure to comply with any instructions for corrective work, including properly sealing abandoned wells, or any other lawful order issued by the District.

(2) Actions which may be taken by District staff once a violation is determined to have occurred are outlined in Chapter 40C-1, F.A.C.

Specific Authority 373.044, 373.113, 373.171 FS. Law Implemented 373.306, 373.308, 373.309, 373.319 FS. History–New 10-14-84, Formerly 40C-3.532, 40C-3.0532, Amended 8-1-89, 11-11-03.