Notice of Variances and Waivers

DEPARTMENT OF HEALTH

Division of Environmental Health

RULE NOS.:	RULE TITLES:

64E-9.004	Operational Requirements

64E-9.006	Construction Plan Approval Standards

64E-9.007	Recirculation and Treatment System Requirements

64E-9.008	Supervision and Safety

NOTICE IS HEREBY GIVEN that on August 5, 2015, the Florida Department of Health received a petition for variance from Leonardus Koene, representing Float Rooms, LLC, Belleville, IL. Specifically, the petitioner seeks a variance from the following Sections of 64E-9, F.A.C.: subparagraph 64E-9.004(1)(d)2., F.A.C.; subsections 64E-9.004(5) and (15), F.A.C.; paragraphs 64E-9.006(1)(a) and (1)(d), F.A.C.; subparagraphs 64E-9.004(2)(a)1., (2)(e)1., and (2)(e)2., F.A.C.; paragraph 64E-9.004(2)(f), F.A.C.; subsection 64E-9.007(1), F.A.C.; subparagraph 64E-9.007(3)(b)5., F.A.C.; paragraphs 64E-9.007(5)(a) and (10)(e), F.A.C.; subsections 64E-9.007(11), (14) and (16), F.A.C.; paragraph 64E-9.004(16)(f), F.A.C., and subsection 64E-9.008(7), F.A.C., which require public swimming pools to: maintain a disinfectant residual, operate a recirculation system when in use, have minimum lighting for indoors, have a water line tile marker, be equipped with access by ladder or stairs, have a clear wet deck width and slope, have an opening on equipment enclosure, have minimal equipment area lighting, have a urinal in unisex restroom, have treatment equipment that meets national standard ANSI-NSF50, have a tile line of 6" width, have filters that meet ANSI-NSF50, have a collector tank and gravity drainage, have auto water makeup, have bypass and valving on heater, have auto feeders for treatment chemicals, have US EPA validation of UV system, and a pool rules sign.

A copy of the Petition for Variance or Waiver may be obtained by contacting: Agency Clerk, Department of Health, Office of General Counsel, 4052 Bald Cypress Way, Bin#A02, Tallahassee, Florida 32399-1703.