- 64E-10.001 General.

- (1) Toilets and washrooms shall be accessible to the public and employees, when the public place or place of employment is open and operating.

- (2) The following sanitary practices shall be used for the operation and maintenance of toilets and washrooms in public places and places of employment:

- (a) Floors and plumbing fixtures shall be cleaned and disinfected as needed, but no less than once a day;

- (b) Plumbing fixtures and plumbing shall be maintained in good working order and free from chips, cracks, leaks, waste back-up, or seepage;

- (c) Toilets and washrooms shall be furnished with soap, preferably liquid type, and single-use towels with a waste receptacle or a towel free automatic hand-drying device. The use of a common towel is prohibited; and,

- (d) Each toilet shall be provided with toilet tissue and dispenser.

- (3) For the purpose of this rule, the term “disinfected” means the application of a product registered with the United States Environmental Protection Agency as a tuberculocidal disinfectant used in accordance with the manufacturer’s instructions.

Rulemaking Authority 381.006 FS. Law Implemented 381.006(6), (15) FS. History–New 10-18-89, Amended 8-7-96, Formerly 10D-10.035, Amended 12-2-15.