- 40C-21.251 Water Shortage Phases.

(1) This rule establishes four phases of water shortage as a function of the estimated reduction in overall demand required to reduce estimated present and anticipated demand to estimated present and anticipated available water supply. The water shortage phase determines the type of water use restrictions which will be ordered in a declared water shortage.

(2) The following water shortage phases are established:

|  |  | Anticipated |  |  |
| --- | --- | --- | --- | --- |
|  |  | % reduction |  |  |
|  |  | in overall |  |  |
| Water Shortage Phase | Color |  | demand |  |
| (a) Moderate Water Shortage | Yellow |  | 15% |  |
| (b) Severe Water Shortage | Orange |  | 30% |  |
| (c) Extreme Water Shortage | Red |  | 45% |  |
| (d) Critical Water Shortage | Purple |  | 60% |  |

(3) Each source class for which a water shortage has been declared will be assigned a specific water shortage phase. The water shortage phase selected for a source class will be based upon:

(a) The anticipated percent reduction required in overall demand; and

(b) For areas with multiple sources, the extent to which users have the capability to obtain water from a source or sources other than the source class for which a water shortage has been declared.

Rulemaking Authority 373.044, 373.113 FS. Law Implemented 373.175, 373.246 FS. History–New 1-1-84.