- 40C-21.401 Monitoring.

(1) This rule generally describes the data collection and analysis the District may undertake in anticipation of and during a declared water shortage or water shortage emergency. Monitoring data may be used to determine:

(a) Whether a water shortage or water shortage emergency should be declared;

(b) Whether the restrictions in effect are sufficient to protect the water resources and users within the affected area, in light of existing and anticipated climatological conditions; and

(c) Whether the restrictions in effect require additional enforcement efforts.

(2) Data may be obtained from any source available, including but not limited to:

(a) The District;

(b) Other water management districts;

(c) Permittees who are required to submit data as a condition of their permit;

(d) Any local, state or federal agency; and

(e) Any other source available.

(3) Resource Monitoring – When appropriate the District will collect and analyze data concerning any aspect of the water resource. Data which may be collected include but are not limited to:

(a) Levels in surface and ground waters, including potentiometric surfaces;

(b) Water quality in surface and ground waters;

(c) Flows in surface waters;

(d) Transfers of water from one source class to another;

(e) Demand of natural systems, including but not limited to losses due to evapotranspiration and seepage;

(f) Rainfall;

(g) Impacts on fish and wildlife; and

(h) Other data required to evaluate the status of the water resources of the District.

(4) Demand Monitoring – When appropriate the District will collect and analyze data concerning any aspect of user demand upon the water resources. Data which may be collected include but are not limited to:

(a) Demands of permitted users;

(b) Demands of users exempt from permitting, but subject to the provisions of the water shortage plan;

(c) Needs of natural systems;

(d) Other data required to evaluate demands on the water resources of the District.

(5) When appropriate, the District may prepare a drought management report summarizing data gathered pursuant to this rule.

Rulemaking Authority 373.044, 373.113 FS. Law Implemented 373.026, 373.103, 373.175, 373.246 FS. History–New 1-1-84.