59A-26.016 Fire Protection, Life Safety, Systems Failure, and External Emergency Communications.

(1) Standards for fire prevention for the facility are those adopted pursuant to Rule 69A-3.012, F.A.C., as required by the Division of State Fire Marshal at Department of Financial Services, and Chapter 69A-38, Uniform Fire Safety Standards for Residential Facilities for Individuals with Developmental Disabilities, F.A.C., as required by the Agency for Persons with Disabilities, as applicable to the classifications of occupancy therein.

(2) The Agency shall conduct an annual fire safety survey. Based upon the survey, a report of deficiencies will be provided to the facility with a time frame for correction.

(3) ICF/DD’s providing personal care, as defined in the Life Safety Code NFPA 101 as adopted pursuant to Rule 69A-3.012, F.A.C., as required by the Division of State Fire Marshal at the Department of Financial Services, and Rule Chapter 69A-38, F.A.C., as required by the Agency for Persons with Disabilities, will be reviewed as a Residential Board and Care occupancy under the Florida Specific Edition of NFPA 101 Life Safety Code, as adopted pursuant to Rule 69A-3.012, F.A.C., as required by the Division of State Fire Marshal at the Department of Financial Services, and Rule Chapter 69A-38, F.A.C. as required by the Agency for Persons with Disabilities. ICF/DD’s providing services to clients that receive chronic, skilled/acute nursing or medical care or designated as a Level of Care 9 will be reviewed as a Health Care occupancy status under the Florida Specific Edition of NFPA 101 Life Safety Code, as adopted pursuant to Rule 69A-3.012, F.A.C., as required by the Division of State Fire Marshal at Department of Financial Services and Rule Chapter 69A-38, F.A.C., as required by the Agency for Persons with Disabilities.  To ensure the life safety code requirements are appropriate for all clients served in an ICF/DD, each licensure survey shall establish or confirm the occupancy status. Beginning December 1, 2015, upon renewal of each ICF/DD license, the license shall display the occupancy status. The ICF/DD licensee must receive written approval from the Agency, including the Office of Plans and Construction, prior to a change in the occupancy status. A client requiring chronic, skilled/acute nursing or medical care, or designated as a Level of Care 9 client, may not reside in an ICF/DD with a Residential Board and Care occupancy status.

(4) Each licensee must provide fire protection through the elimination of fire hazards as evidenced by compliance with the fire codes referenced in subsection 59A-26.016(1), F.A.C.

(5) All fires or explosions must be reported by the licensee within 24 hours by phone to the Agency for Health Care Administration’s field office and the Office of Plans and Construction. Upon notification the Agency field office shall coordinate with the local fire investigation authority to determine the cause, origin, and circumstances of the fire or explosion. The licensee shall complete the form “Fire Incident Report”, AHCA #3500-0031, revised July 2014, incorporated herein by reference and available at http://www.flrules.org/Gateway/reference.asp?No=Ref-06199 or from the Office of Plans and Construction, Agency for Health Care Administration, 2727 Mahan Drive, Mail Stop 24, Tallahassee, Florida 32308 or from the web site at http://ahca.myflorida.com/MCHQ/Plans/pdfs/Fire.pdf. The form must be completed by the licensee and submitted to the Agency’s Office of Plans and Construction within 10 calendar days of the incident.

(6) In the event of a system failure of the fire alarm system, smoke detection system, or sprinkler system, the following actions must be taken immediately by the licensee:

(a) Notify the local fire authority and document any instructions received by the licensee;

(b) Notify the Agency for Health Care Administration Office of Plans and Construction, and the Agency’s local field office; and,

(c) Assess the extent of the condition, and implement corrective action with a documented period for compliance. If the corrective action will take more than four hours to complete, the following items must be completed:

1. Implement a contingency plan containing a description of the problem, a specific description of the system failure, and the projected correction period. All staff on shifts involved must have documented in-service training for the emergency contingency.

2. Begin a documented fire watch until the system is restored. Persons used for fire watch must receive training specific to their duty including what to look for, what to do, and how to expeditiously contact the fire department. To maintain a fire watch, the facility must utilize only certified public fire safety personnel, a guard service, or facility staff. If facility staff is utilized for this function, they must meet the following requirements:

a. Be off duty from their regular facility position or assigned only to fire watch duty and be excluded from counting toward the required staffing pattern;

b. Be trained and competent as determined by the licensee in the duties and responsibilities of a fire watch; and,

c. Have immediate access to electronic communication.

3. If the projected correction period changes or when the system is restored to normal operation, the licensee must notify the Agency’s Office of Plans and Construction, the Agency’s local field office and local fire authorities.

(7) Each new facility must provide for external electronic communication not dependent on terrestrial telephone lines, cellular, radio or microwave towers, such as an on-site radio transmitter, satellite communication systems or a written agreement with an amateur radio operator volunteer group(s). If the latter, this agreement must provide for a volunteer operator and communication equipment to be relocated into the facility in the event of a disaster until communications are restored. Other methods, which can be shown to maintain uninterrupted electronic communications not dependent on land-based transmission, must be pre-approved by the Agency’s Office of Plans and Construction.

Rulemaking Authority 400.967 FS. Law Implemented 400.967(2)(a) FS. History–New 12-21-15.