40C-42.022 Permits Required.

(1) A permit is required under this chapter for construction (including operation and maintenance) of a stormwater management system which serves a project that exceeds any of the following thresholds:

(a) Construction of 4,000 square feet or more of impervious or semi-impervious surface area subject to vehicular traffic, such as roads, parking lots, driveways, and loading zones;

(b) Construction of more than 9,000 square feet total of impervious surface; or

(c) Construction of 5 acres or more of recreational area. Recreation areas include but are not limited to golf courses, tennis courts, putting greens, driving ranges, or ball fields.

(2) A permit is required under this chapter for alteration, removal, reconstruction, or abandonment of existing stormwater management systems which serve a project which may be expected to result in any of the following:

(a) Increase pollutant loadings (including sediment) in stormwater runoff from the project;

(b) Increase in peak discharge rate;

(c) Decrease in onsite or instream detention storage;

(d) Replacement of roadside swales with curb and gutter;

(e) Construction of 4,000 square feet or more of impervious or semi-impervious surface area subject to vehicular traffic, such as roads, parking lots, driveways, and loading zones;

(f) Construction of more than 9,000 square feet total of impervious surface; or

(g) Construction of 5 acres or more of recreational area. Recreation areas include but are not limited to golf courses, tennis courts, putting greens, driving ranges, or ball fields.

(3) These thresholds include all cumulative activity which occurs on or after September 25, 1991.

(4) For purposes of this section, the calculation of the amount of impervious surface shall not include water bodies.

(5) Permits issued by the District for systems which no longer require a permit pursuant to subsection (1) or (2), above, may either be abandoned or relinquished by the permittee subject to the following:

(a) Local governments may have concurrent jurisdiction with the District over a stormwater system. The permittee is not relieved by this rule of the responsibility to comply with any other applicable rules or ordinances which may govern such system.

(b) The permittee provides reasonable assurance that there will not be a violation of state water quality standards as set forth in Chapters 62-302 and 62-550, F.A.C.;

(c) The permittee provides reasonable assurance that adjacent or nearby properties not owned or controlled by the applicant will not be adversely affected by drainage or flooding; and

(d) The permittee must apply to the District for and receive written authorization from the District prior to abandonment of the system.

Specific Authority 373.044, 373.113, 373.171, 373.404, 373.406, 373.414, 373.418 FS. Law Implemented 373.118, 373.406, 373.413, 373.414, 373.416, 373.418, 373.426 FS. History–New 9-25-91, Amended 4-11-94, 11-22-94, 10-11-01, 11-11-03.