40C-42.025 Design and Performance Criteria for Stormwater Management Systems.

The following criteria shall apply to stormwater management systems unless otherwise noted:

(1) Erosion and sediment control best management practices shall be used as necessary during construction to retain sediment on-site. These management practices shall be designed and certified by an appropriate registered professional experienced in the fields of soil conservation or sediment control according to specific site conditions and shall be shown or noted on the plans of the stormwater management system. The registered professional shall furnish the contractor with information pertaining to the construction, operation and maintenance of the erosion and sediment control practice. Sediment accumulations in the system from construction activities shall be removed to prevent loss of storage volume.

(2) Stormwater management systems which either receive stormwater from areas with greater than 50 percent impervious surface or are a potential source of oil and grease contamination in concentrations that exceed applicable water quality standards shall include a baffle, skimmer, grease trap or other mechanism suitable for preventing oil and grease from leaving the stormwater management system in concentrations that would cause or contribute to violations of applicable water quality standards in the receiving waters. For purposes of this subsection, the calculation of the amount of impervious surface shall not include water bodies.

(3) Unless applicable local regulations are more restrictive, for purposes of public safety the following requirements apply:

(a) Normally dry basins designed to impound more than two feet of water or permanently wet basins shall be fenced or otherwise restricted from public access, or shall contain side slopes that are no steeper than 4:1 (horizontal:vertical) out to depth of two feet below the control elevation; and,

(b) Control devices that are designed to contain more than a two foot depth of water within the structure under the design storm and have openings greater than one foot minimum dimension shall be restricted from public access.

(4) All stormwater basin side slopes shall be stabilized by either vegetation or other materials to minimize erosion and sedimentation of the basins.

(5) Stormwater management systems must be designed to accommodate maintenance equipment access and to facilitate regular operational maintenance (such as underdrain replacement, unclogging filters, sediment removal, mowing and vegetation control). Operational maintenance and operation easements shall be provided when necessary to facilitate equipment access.

(6) The applicant must obtain sufficient legal authorization as appropriate prior to permit issuance for stormwater management systems which propose to utilize offsite areas to satisfy the requirements in subsection 40C-42.023(1), F.A.C.

(7) Stormwater management systems (except retention and exfiltration trench systems) shall provide gravity or pumped discharge that effectively operates under one of the following tailwater conditions:

(a) Maximum stage in the receiving water resulting from the mean annual 24-hour storm. This storm depth is described in “Rainfall Analysis for Northeast Florida;” St. Johns River Water Management District Technical Publication No. SJ 88-3 (May, 1988). Lower stages may be utilized if the applicant demonstrates that flow from the project will reach the receiving water prior to the time of maximum stage in the receiving water;

(b) Mean annual high tide for tidal areas;

(c) Mean annual seasonal high water elevation. This elevation may be determined by water lines on vegetation or structures, historical data, adventitious roots or other hydrological or biological indicators, design of man-made systems, or estimated by a registered professional using standard hydrological methods based on the site and receiving water characteristics; or

(d) As an alternative, the applicant may propose any applicable criterion established by a local government, state agency, or stormwater utility with jurisdiction over the project.

(8) Stormwater management systems which require a permit pursuant to subsection 40C-42.022(1), F.A.C., and which serve new construction area with greater than 50 percent impervious surface (excluding water bodies) must demonstrate that the post-development peak rate of discharge does not exceed the pre-development peak rate of discharge for one of the following:

(a) The mean annual 24-hour storm event. This storm depth is described in “Rainfall Analysis for Northeast Florida;” St. Johns River Water Management District Technical Publication No. SJ 88-3 (May, 1988). The criteria contained in sections 10.3.5-10.3.8 of the Management and Storage of Surface Waters Applicant’s Handbook, (A.H.), are herein incorporated by reference;

(b) The mean annual 24-hour storm event utilizing the modified rational hydrograph method. This storm depth is described in the publication referenced in paragraph (a), above. This methodology should only be used for systems meeting the following criteria:

1. The drainage area is less than 40 acres;

2. The pre-development time of concentration for the system is less than 60 minutes; and,

3. The post-development time of concentration for the system is less than 30 minutes; or

(c) As an alternative to paragraph (a) or (b), above, the applicant may propose a storm event, duration, and criteria specified by a local government, state agency, or stormwater utility with jurisdiction over the project.

(9) Stormwater management systems which alter existing conveyance systems must not adversely affect existing surface water conveyance capabilities. It is presumed that a system meets this criteria if one of the following are met:

(a) The existing hydraulic conveyance is maintained;

(b) The applicant demonstrates that changes in flood elevations or velocities will not adversely impact upstream or downstream off-site property;

(c) The applicant demonstrates that the criteria in 10.5.2(b), Applicant’s Handbook, are met; or

(d) As an alternative, the applicant may propose to comply with applicable criteria established by a local government, state agency, or stormwater utility with jurisdiction over the project.

(10) The construction plans and supporting calculations must be signed, sealed, and dated by an appropriate registered professional as required by the relevant statutory provisions when the design of the stormwater management system requires the services of an appropriate registered professional.

(11) Stormwater management systems located within Sensitive Karst Areas must meet the requirements of subsection 40C-41.063(6), F.A.C.

Specific Authority 373.044, 373.113, 373.171, 373.418 FS. Law Implemented 373.117, 373.413, 373.416, 403.0877 FS. History–New 4-1-86, Amended 9-25-91, 3-21-93.