40C-42.026 Specific Design and Performance Criteria.

(1) Retention systems shall:

(a) Provide for one of the following:

1. Off-line retention of the first one half inch of runoff or 1.25 inches of runoff from the impervious area, whichever is greater;

2. On-line retention of an additional one half inch of runoff from the drainage area over that volume specified in subparagraph 1., above;

3. On-line retention that provides for percolation of the runoff from the three year, one-hour storm; or

4. On-line retention of the runoff from one inch of rainfall or 1.25 inches of runoff from the impervious area, whichever is greater, for systems which serve an area with less than 40 percent impervious surface and that contain only U.S. Department of Agriculture Soil Conservation Service (SCS) hydrologic group “A” soils.

(b) Provide retention in accordance with one of the following for those systems which have direct discharge to Class I, Class II, Outstanding Florida Waters, or Class III waters which are approved, conditionally approved, restricted, or conditionally restricted for shellfish harvesting:

1. At least an additional fifty percent of the applicable treatment volume specified in subparagraph 1., above. Off-line retention must be provided for at least the first one half inch of runoff or 1.25 inches of runoff from the impervious area, whichever is greater, of the total amount of runoff required to be treated;

2. On-line retention of an additional fifty percent of the treatment volume specified in subparagraph 2., above;

3. On-line retention that provides percolation of the runoff from the three year, one-hour storm; or

4. On-line retention that provides at least an additional 50 percent of the runoff volume specified in subparagraph 40C-42.026(1)(a)4., F.A.C., above, for systems which serve an area with less than 40 percent impervious surface and that contain only U.S. Department of Agriculture Soil Conservation Service (SCS) hydrologic group “A” soils.

(c) Provide the capacity for the appropriate treatment volume of stormwater specified in paragraph (a) or (b) above, within 72 hours following the storm event assuming average antecedent moisture conditions. The storage volume must be provided by a decrease of stored water caused only by percolation through soil, evaporation or evapotranspiration.

(d) Be stabilized with pervious material or permanent vegetative cover. Permanent vegetative cover must be utilized, except for pervious pavement systems, when U.S. Department of Agriculture Soil Conservation Service (SCS) hydrologic group “A” soils underlie the retention basin.

(2) Underdrain stormwater management systems shall:

(a) Provide for either of the following:

1. Off-line storage of the first one half inch of runoff or 1.25 inches of runoff from the impervious area, whichever is greater; or

2. On-line storage of an additional one half inch of runoff from the drainage area over that volume specified in subparagraph 1., above.

(b) Provide either of the following for those underdrain systems which have direct discharge to Class I, Class II, Outstanding Florida Waters, or Class III waters which are approved, conditionally approved, restricted, or conditionally restricted for shellfish harvesting:

1. At least an additional fifty percent of the applicable treatment volume specified in subparagraph 1., above. Off-line storage must be provided for at least the first one half inch of runoff or 1.25 inches of runoff from the impervious area, whichever is greater, of the total amount of runoff required to be treated; or

2. On-line storage of the runoff from a three-year, one-hour storm or an additional fifty percent of the treatment volume specified in subparagraph 2., above, whichever is greater.

(c) Provide the capacity for the appropriate treatment volume of stormwater specified in paragraph (a) or (b), above, within 72 hours following a storm event. The storage volume must be provided by a decrease of stored water caused only by percolation through soil with subsequent transport through the underdrain pipes, evaporation or evapotranspiration.

(d) Provide at least two feet of indigenous soil between the bottom of the stormwater holding area and the underdrain pipe(s).

(e) Be designed with a safety factor of at least two unless the applicant affirmatively demonstrates based on plans, test results, calculations or other information that a lower safety factor is appropriate for the specific site conditions. Examples of how to apply this factor include but are not limited to reducing the design percolation rate by half or designing for the required drawdown within 36 hours instead of 72 hours.

(f) Contain areas of standing water only following a rainfall event.

(g) Be stabilized with permanent vegetative cover.

(h) Include, at a minimum, a capped and sealed inspection and cleanout ports which extend to the surface of the ground at the following locations of each drainage pipe:

1. The terminus; and

2. Every 400 feet or every bend of 45 or more degrees, whichever is less.

(i) Utilize filter fabric or other means used to prevent the soil from moving and being washed out through the underdrain pipe.

(3) Underground exfiltration trench systems shall:

(a) Provide for either of the following:

1. Off-line storage of the first one half inch of runoff or 1.25 inches of runoff from the impervious area, whichever is greater; or

2. On-line storage of an additional one half inch of runoff from the drainage area over that volume specified in subparagraph 1., above.

(b) Provide either of the following for those exfiltration trench systems which have direct discharge to Class I, Class II, Outstanding Florida Waters, or Class III waters which are approved, conditionally approved, restricted, or conditionally restricted for shellfish harvesting:

1. At least an additional fifty percent of the applicable treatment volume specified in subparagraph 1., above. Off-line storage must be provided for at least the first one half inch of runoff or 1.25 inches of runoff from the impervious area, whichever is greater, of the total amount of runoff required to be treated; or

2. On-line storage of the runoff from the three-year, one-hour storm or an additional fifty percent of the treatment volume specified in subparagraph 2., above, whichever is greater.

(c) Provide the capacity for the appropriate treatment volume of stormwater specified in paragraph (a) or (b), above, within 72 hours following a storm event assuming average antecendent moisture conditions. The storage volume must be provided by a decrease of stored water caused only by percolation into the soil.

(d) Be designed with a safety factor of at least two unless the applicant affirmatively demonstrates based on plans, test results, calculations or other information that a lower safety factor is appropriate for the specific site conditions. Examples of how to apply this factor include but are not limited to reducing the design percolation rate by half or designing for the required drawdown within 36 hours instead of 72 hours.

(e) Be designed with a twelve (12) inch minimum pipe diameter.

(f) Be designed with a three (3) foot minimum trench width.

(g) Be designed so that aggregate in the trench is enclosed in filter fabric.

(h) Provide cleanout and inspection structures which extend to the surface of the ground at the inlet and terminus of each pipe. Inlet structures should include sediment sumps.

(i) Be designed so that the invert elevation of the trench must be at least two feet above the seasonal high ground water table elevation unless the applicant demonstrates based on plans, test results, calculations or other information that an alternative design is appropriate for the specific site conditions.

(j) Be designed so that the system must have the capacity to retain the required treatment volume without considering discharges to ground or surface waters.

(4) Wet detention stormwater management systems shall:

(a) Provide a treatment volume of the greater of the following:

1. First one inch of runoff; or

2. 2.5 inches of runoff from the impervious area.

(b) Be designed so that the outfall structures shall bleed down one-half the volume of stormwater specified in paragraph (a), above, within 24 to 30 hours following a storm event, but no more than one-half of this volume will be discharged within the first 24 hours.

(c) Contain a permanent pool of water sized to provide an average residence time of at least 14 days during the wet season (June-October).

(d)1. Provide a littoral zone to be designed as follows:

a. The littoral zone shall be gently sloped (6:1 or flatter). At least 30 percent of the wet detention system surface area shall consist of a littoral zone. The percentage of littoral zone is based on the ratio of vegetated littoral zone to surface area of the pond at the control elevation.

b. The treatment volume should not cause the pond level to rise more than 18 inches above the control elevation unless the applicant affirmatively demonstrates that the littoral zone vegetation can survive at greater depths.

c. Eighty percent coverage of the littoral zone by suitable aquatic plants is required within the first twenty-four months of completion of the system or as specified by permit conditions.

d. To meet the 80% coverage requirement, planting of the littoral zone is recommended. As an alternative, portions of the littoral zone may be established by placement of wetland top soils (at least a four inch depth) containing a seed source of desirable native plants. When utilizing this alternative, the littoral zone must be stabilized by mulching or other means and at least the portion of the littoral zone within 25 feet of the inlet and outlet structures must be planted.

2. In lieu of the requirements of subparagraph 1., above, the applicant may provide either of the following:

a. At least fifty percent additional permanent pool volume over that specified in paragraph (c), above; or

b. Treatment of the stormwater pursuant to subparagraphs 40C-42.024(2)(b)2., 3., 4., or 6., F.A.C., prior to the stormwater entering the wet detention pond.

(e) Be designed so that the mean depth of the permanent pool is between 2 and 8 feet and the maximum depth does not exceed 12 feet below the invert of the bleed down device, unless the applicant affirmatively demonstrates that alternative depths will not inhibit the physical, chemical, and biological treatment processes or cause the resuspension of pollutants into the water column due to anaerobic conditions in the water column.

(f) Be designed so the flow path through the pond has an average length to width ratio of at least 2:1. The alignment and location of inlets and outlets should be designed to maximize flow paths in the pond. If short flow paths are unavoidable, the effective flow path should be increased by adding diversion barriers such as islands, peninsulas, or baffles to the pond. Inlet structures shall be designed to dissipate the energy of water entering the pond.

(g) Be designed so that bleed down devices shall incorporate minimum dimensions no smaller than six square inches of cross section area, two inches wide, and 20 degrees for “v” notches. Bleed down devices incorporating dimensions smaller than six inches minimum width or less than 45 degrees for “v” notches shall include a device to minimize clogging. Examples include baffles, grates, and pipe elbows.

(h) Be designed so that bleed down structure invert elevations are at or above the estimated post-development normal ground water table elevation. If the structure is proposed to be set below this elevation, ground water inflow must be considered in the drawdown calculations, calculation of average residence time, estimated normal water level in the pond, and pollution removal efficiency of the system.

(i) Provide for permanent maintenance easements or other acceptable legal instruments to allow for access to and maintenance of the system, including the pond, littoral zone, inlets, and outlets. The easement or other acceptable instrument must cover the entire littoral zone.

(j) Be designed so that the average pond side slope measured between the control elevation and two feet below the control elevation is no steeper than 3:1 (horizontal:vertical).

(k) Wet detention systems which have direct discharge to Class I, Class II, Outstanding Florida Waters, or Class III waters which are approved, conditionally approved, restricted, or conditionally restricted for shellfish harvesting shall provide either of the following in addition to the requirements in paragraphs (b), (d), and (e)-(j), above:

1. An additional fifty percent of the applicable treatment volume specified in paragraph (a), above, and an additional fifty percent of the applicable permanent pool volumes specified in paragraph (c) or subparagraph (d)2., above; or

2. Treatment pursuant to subsections (1), (2), (3) above, or (5) below, prior to discharging into a wet detention pond designed pursuant to paragraphs (a)-(j), above.

(5) Swale systems shall:

(a) Percolate 80% of the runoff from the three year, one-hour storm.

(b) Percolate the runoff from the three-year, one-hour storm for those swale systems which have direct discharge to Class I, Class II, Outstanding Florida Waters, or Class III waters which are approved, conditionally approved, restricted, or conditionally restricted for shellfish harvesting.

(c) Provide the capacity for the given volume of stormwater pursuant to paragraph (a) or (b), above, and contain no contiguous areas of standing or flowing water within 72 hours following the storm event referenced in paragraphs (a) and (b), above, assuming average antecedent moisture conditions. The storage volume must be provided by a decrease of stored water caused only by percolation through soil, evaporation or evapotranspiration.

(d) Meet the criteria in subsection 40C-42.021(29), F.A.C.

(6) Dry detention systems shall:

(a) Provide off-line detention of the first one inch of runoff or 2.5 inches of runoff from the impervious area, whichever is greater.

(b) Provide at least an additional fifty percent of the applicable treatment volume specified in subparagraph 1., above, for those systems which have direct discharge to Class I, Class II, Outstanding Florida Waters, or Class III waters which are approved, conditionally approved, restricted, or conditionally restricted for shellfish harvesting.

(c) Be designed so that the outfall structures shall discharge one-half the appropriate treatment volume of stormwater specified in paragraph (a) or (b), above, between 24 to 30 hours following a storm event.

(d) Be designed so that discharge structures shall include a device to prevent the discharge of accumulated sediment, minimize exit velocities, and prevent clogging. Examples include perforated riser enclosed in a gravel jacket and perforated pipes enclosed in sand or gravel.

(e) Contain areas of standing water for no longer than 3 days following a rainfall event.

(f) Be stabilized with permanent vegetative cover.

(g) Be designed so the average flow path through the basin has a length to width ratio of at least 2:1. The alignment and location of inlets and outlets should be designed to maximize flow paths in the basin. If short flow paths are unavoidable, the effective flow path should be increased by adding diversion barriers such as baffles to the basin.

(h) Be designed so inlet structures dissipate the energy of water entering the basin.

(i) Be designed to include a maintenance schedule for removal of sediment and debris on at least a bi-monthly basis from the basin and mowing and removal of grass clippings.

(j) Be designed so the basin floor is level or uniformly sloped toward the outfall structure.

(k) Be designed so that the basin floor and control elevation is at least one foot above the seasonal high ground water table elevation. Sumps may be placed up to one foot below the control elevation.

Specific Authority 373.044, 373.113, 373.118, 373.406, 373.414, 373.418 FS. Law Implemented 373.118, 373.406, 373.413, 373.414, 373.416, 373.418, 373.426, 403.813 FS. History–New 9-25-91, Amended 3-21-93, 6-15-93, 4-11-94, 7-20-95, 10-11-01.