Notice of Proposed Rule

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION

Board of Professional Engineers

RULE NO.:	RULE TITLE:

61G15-32.004	Design of Water Based Fire Protection Systems

PURPOSE AND EFFECT: To clarify need for and design of water based fire protection systems.

SUMMARY: Determining when a fire pump may be determined.

SUMMARY OF STATEMENT OF ESTIMATED REGULATORY COSTS AND LEGISLATIVE RATIFICATION: The Agency has determined that this will not have an adverse impact on small business or likely increase directly or indirectly regulatory costs in excess of $200,000 in the aggregate within one year after the implementation of the rule. A SERC has not been prepared by the Agency.

The Agency has determined that the proposed rule is not expected to require legislative ratification based on the statement of estimated regulatory costs or if no SERC is required, the information expressly relied upon and described herein: The Board found the amendments will clarify when a determination of the need for a fire pump must be made. The Board expects this clarification to reduce overall costs of compliance and, therefore, will not result in aggregate costs increasing in excess of $1 million in the next 5 years.

Any person who wishes to provide information regarding a statement of estimated regulatory costs, or provide a proposal for a lower cost regulatory alternative must do so in writing within 21 days of this notice.

RULEMAKING AUTHORITY: 471.008, 471.033(2) FS.

LAW IMPLEMENTED: 471.033(2) FS.

IF REQUESTED WITHIN 21 DAYS OF THE DATE OF THIS NOTICE, A HEARING WILL BE SCHEDULED AND ANNOUNCED IN THE FAR.

THE PERSON TO BE CONTACTED REGARDING THE PROPOSED RULE IS: Zana Raybon, Executive Director, Board of Professional Engineers, 2639 North Monroe Street, Suite B-112, Tallahassee, FL 32303; (850)521-0500

THE FULL TEXT OF THE PROPOSED RULE IS:

- 61G15-32.004 Design of Water Based Fire Protection Systems.

(1) through (2)(j) No change.

(k) For high hazard occupancy classifications, storage occupancies, factory occupancies, and high-rise buildings, as defined in the Florida Building Code, aA determination of whether a fire pump is required and if so, the specific volumetric flow and pressure rating of the pump.

(2)(l) through (4) No change.

Rulemaking Authority 471.008, 471.033(2) FS. Law Implemented 471.033(2) FS. History–New 5-19-93, Formerly 21H-32.004, Amended 4-2-00, 6-26-01, 6-15-15,            .

NAME OF PERSON ORIGINATING PROPOSED RULE: Board of Professional Engineers

NAME OF AGENCY HEAD WHO APPROVED THE PROPOSED RULE: Board of Professional Engineers

DATE PROPOSED RULE APPROVED BY AGENCY HEAD: October 7, 2015

DATE NOTICE OF PROPOSED RULE DEVELOPMENT PUBLISHED IN FAR: November 30, 2015