40D-2.301 Conditions for Issuance of Permits.

(1) In order to obtain a Water Use Permit, an Applicant must demonstrate that the water use is reasonable and beneficial, is in the public interest, and will not interfere with any existing legal use of water, by providing reasonable assurances, on both an individual and a cumulative basis, that the water use:

(a) Is necessary to fulfill a certain reasonable demand;

(b) Will not cause quantity or quality changes that adversely impact the water resources, including both surface and ground waters;

(c) Will not cause adverse environmental impacts to wetlands, lakes, streams, estuaries, fish and wildlife or other natural resources;

(d) Will comply with the provisions of 4.3 of the Basis of Review described in Rule 40D-2.091, F.A.C.;

(e) Will utilize the lowest water quality the Applicant has the ability to use;

(f) Will not significantly induce saline water intrusion;

(g) Will not cause pollution of the aquifer;

(h) Will not adversely impact offsite land uses existing at the time of the application;

(i) Will not adversely impact an existing legal withdrawal;

(j) Will incorporate water conservation measures;

(k) Will incorporate reuse measures to the greatest extent practicable;

(l) Will not cause water to go to waste; and

(m) Will not otherwise be harmful to the water resources within the District.

(2) Permit Applicants for projects which require both a water use permit and a surface water management permit pursuant to District Rules shall submit a completed surface water management permit application to the District prior to issuance of a Water Use Permit. If the District determines that a permit application involves an area where the Water Use Permit may not be granted because of water resource problems, the requirement for a complete surface water management permit application may be waived by the District. Where such waivers are granted, the Water Use Permit shall specify that a well construction permit will not be issued and that withdrawals cannot commence until the appropriate District surface water permit is issued.

(3) The standards and criteria set forth in the “Basis of Review For Water Use Permit Applications,” identified in Rule 40D-2.091, F.A.C., shall be used to provide the reasonable assurances required in subsection 40D-2.301(1), F.A.C.

Specific Authority 373.044, 373.113, 373.171 FS. Law Implemented 373.219, 373.223, 373.229 FS. History–Readopted 10-5-74, Amended 12-31-74, 2-6-78, 7-5-78, Formerly 16J-2.11, 16J-2.111, Amended 1-25-81, 10-1-89, 2-10-93, 8-3-00, 4-14-02.