40D-3.600 Special Well Construction Standards.

To prevent impacts to water wells from periodic high water use, in addition to complying with the other construction requirements of this chapter, the construction of potable water wells in the area of the Dover community shall also comply with the requirements set forth below.

(1) Potable water wells constructed in the Dover area north of Interstate 4 (North Dover), as identified in subsection (2) below, shall be cased to a minimum depth of 105 feet below land surface.

(2) The area of North Dover is as follows:

Township 28, Range 20, Sections 12 through 14, 23, 24 and those portions of 25 and 26 lying north of Interstate 4;

Township 28, Range 21, Sections 1 through 19 and those portions of 20 through 24 and 30 lying north of Interstate 4; and

Township 28, Range 22, Sections 2 through 10, 15 through 18 and that portion of 20 lying north of Interstate 4.

(3) Potable water wells constructed in the Dover area south of Interstate 4 (South Dover), as identified in subsection (4) below, shall be cased to a minimum depth of 147 feet below land surface.

(4) The area of South Dover is as follows:

Township 28, Range 20, those portions of Sections 25 and 26 lying south of Interstate 4 and Sections 35 and 36;

Township 28, Range 21, those portions of Sections 20 through 24 and 30 lying south of Interstate 4 and Sections 25 through 29 and 31 through 36;

Township 28, Range 22, that portion of Section 20 lying south of Interstate 4;

Township 29, Range 20, Sections 1, 2, 11 through 13 and 24;

Township 29, Range 21, Sections 1 through 29, 33 and 34; and

Township 29, Range 22, Sections 4 through 9 and 15 through 21.

Specific Authority 373.044, 373.113, 373.171, 373.308 FS. Law Implemented 373.308, 373.309 FS. History–New 4-9-02.