40D-4.331 Modification of Permits.

An application for modification of an environmental resource permit shall be processed in accordance with this rule, unless the permit is revoked, suspended or expired.

(1) Applications to modify a conceptual permit shall be made and reviewed:

(a) For an alteration of the design of the surface water management system, in accordance with the same criteria as new applications pursuant to Rules 40D-4.101, 40D-4.301, and 40D-4.302, F.A.C.;

(b) For construction authorization of a project phase, in accordance with Chapter 40D-40, F.A.C., if the project phase satisfies the requirements of Rules 40D-40.112 and 40D-40.302, F.A.C.; or

(c) For construction authorization of a project phase which does not satisfy the requirements of paragraph (b), in the manner of an individual permit and using the criteria applicable to the conceptual permit; or

(d) In accordance with subsection (2)(b) or (3) below.

(2) Applications to modify a construction permit shall be made:

(a) By formal application and review using the same criteria as new applications, pursuant to Rules 40D-4.101, 40D-4.301, and 40D-4.302, F.A.C., unless the proposed modification involves an outparcel construction within a permitted commercial project. A request for modification involving construction within an out parcel of a permitted commercial or industrial development should be made using District Form No. LEG-R001.00 (2/05), adopted by reference in Rule 40D-1.659, F.A.C.

(b) By letter, provided the requested modification does not:

1. Substantially alter the permit authorization,

2. Increase the authorized off-site discharge,

3. Impact the environmental features of the project,

4. Decrease the required retention/detention,

5. Decrease the required flood control elevations for roads or buildings,

6. Decrease pollution removal efficiency, or

7. Renew or extend the existing permit duration.

(3) Applications for modification of a site conditions assessment permit shall be made by formal application and reviewed using the same criteria as new applications:

(a) For contiguous expansion or other adjustment of the project area,

(b) For additional permitted conditions,

(c) For any renewal or extension of a current permit, or

(d) For conversion to a Chapter 40D-4 or 40D-40, F.A.C., construction permit application, except that the permitted site conditions shall remain as permitted.

(4) Application for permit modification to renew or extend the existing permit duration shall occur by formal application and review, and such requests shall be submitted no sooner than 180 days prior to the permit expiration date.

(a) A modification for construction permit renewal will be granted if it is reasonably assured by the applicant and determined that any completed construction is in compliance with a currently valid permit, and the proposed construction will be in compliance with the District’s rules in effect at the time the application for modification to renew is filed.

(b) Applications for conceptual permit renewal and site conditions assessment permit renewal or extension must comply with the same criteria as new applications.

(c) Each modification to renew or extend can be granted for a duration as needed, up to five years for construction permits and site conditions assessment permits, and up to two years for conceptual permits.

Specific Authority 373.044, 373.113, 373.149, 373.171 FS. Law Implemented 373.413, 373.416(1), 373.429, 373.805 FS. History–Readopted 10-5-74, Formerly 16J-4.13, Amended 10-1-84, 3-1-88, 10-1-88, 6-29-93, 10-3-95, 7-23-96, 2-1-05.