Notice of Variances and Waivers

DEPARTMENT OF ENVIRONMENTAL PROTECTION

RULE NO.:	RULE TITLE:

62-610.462	Reliability and Operator Staffing

The Department of Environmental Protection hereby gives notice that it has issued an order on January 15, 2016, granting Citrus County Utilities, Point O’ Woods Wastewater Treatment Facility (WWTF) Petition for a Variance. The Petition was received on October 20, 2015. Notice of receipt of this Petition was published in the Florida Administrative Register on October 30, 2015. The petition requested a variance from subsection 62-610.462(3), F.A.C., to reduce the minimum operator staffing requirements from 6 hours per day for 7 days per week to 3 hours per days for 5 days per week and 1 hour visits on each weekend day. No public comment was received. The Order, file number FLA011893-006-DWF, granted the Petition to subsection 62-610.462(3), F.A.C., based on a showing that Petitioner demonstrated that a strict application of the rule would result in substantial hardship to Petitioner because Petitioner demonstrated that the purpose of the underlying statute will be or has been achieved by other means.

A copy of the Order or additional information may be obtained by contacting: Jacquelyn Champion, Department of Environmental Protection, 13051 N. Telecom Parkway, Florida 33637, telephone (813)470-5918, Jacquelyn.Champion@dep.state.fl.us during normal business hours, 8:00 a.m. to 5:00 p.m., Monday through Friday, except legal holidays.