- 62-600.300 General Technical Documents.

(1) The technical standards and criteria contained in the following standard manuals and technical publications listed in subsection 62-600.300(4), F.A.C., and those referenced throughout this chapter are hereby incorporated by reference and shall be applied, if applicable, in determining whether permits allowing construction or modification of domestic wastewater facilities shall be issued or denied.

(2) Deviations from the standards and criteria contained in the publications listed in subsection 62-600.300(4), F.A.C., shall be approved by the Department provided that:

(a) The preliminary design or engineering report provides reasonable assurance that the proposed design will provide collection, transmission, treatment, and reuse or disposal meeting the requirements of this chapter; and either:

(b) Conforming with these standards cannot be done except at unreasonably higher costs, or

(c) It is not technically feasible to conform to these standards because of site conditions or incompatibility with a proposed facility design employing new and innovative techniques which assure compliance with the remainder of this chapter.

(3) In cases where standards and criteria contained in the publications listed in subsection 62-600.300(4), F.A.C., conflict with other rules of the Department, the other rules shall apply.

(4) Standard Manuals and Publications.

(a) Water Pollution Control Federation, 1977. Manual of Practice No. 8. Wastewater Treatment Plant Design. W.P.C.F., 601 Wythe Street, Alexandria, Virginia 22314-1994, http://www.wef.org.

(b) Great Lakes/Upper Mississippi River Board of State Sanitary Engineers, 1978 edition. Recommended Standards for Sewage Works. Health Education Service, Inc., P.O. Box 7126, Albany, New York 12224. http://www.healthresearch.org/store.

(c) U.S. Environmental Protection Agency, 1987. Phosphorus Removal-Design Manual. EPA-625/1-87-001. EPA Center for Environmental Research Information, 26 West Martin Luther King Drive, Cincinnati, Ohio 45268, http://www.epa.gov/nscep/index.html.

(d) U.S. Environmental Protection Agency, 1973. Carbon Absorption-Process Design Manual. EPA-625/1-71-002a. EPA Center for Environmental Research Information, 26 West Martin Luther King Drive, Cincinnati, Ohio 45268, http://www.epa.gov/nscep/index.html.

(e) U.S. Environmental Protection Agency, 1975. Suspended Solids Removal-Process Design Manual. EPA-625/1-75-003a. EPA Center for Environmental Research Information, 26 West Martin Luther King Drive, Cincinnati, Ohio 45268, http://www.epa.gov/nscep/index.html.

(f) U.S. Environmental Protection Agency, 1974. Upgrading Existing Wastewater Treatment Plants – Process Design Manual. EPA-625/1-71-004a. EPA Center for Environmental Research Information, 26 West Martin Luther King Drive, Cincinnati, Ohio 45268, http://www.epa.gov/nscep/index.html.

(g) U.S. Environmental Protection Agency, 1985. Odor and Corrosion Control in Sanitary Sewerage Systems and Treatment Plants – Process Design Manual. EPA-625/1-85-018. EPA Center for Environmental Research Information, 26 West Martin Luther King Drive, Cincinnati, Ohio 45268, http://www.epa.gov/nscep/index.

(h) U.S. Environmental Protection Agency, 1975. Nitrogen Control – Process Design Manual. EPA-625/1-75-007. EPA Center for Environmental Research Information, 26 West Martin Luther King Drive, Cincinnati, Ohio 45268, http://www.epa.gov/nscep/index.html.

(i) U.S. Environmental Protection Agency, 1981. Land Treatment of Municipal Wastewater – Process Design Manual. EPA-625/1-81-013. EPA Center for Environmental Research Information, 26 West Martin Luther King Drive, Cincinnati, Ohio 45268, http://www.epa.gov/nscep/index.html.

(j) U.S. Environmental Protection Agency, 1977. Wastewater Treatment Facilities for Sewered Small Communities – Process Design Manual. EPA-625/1-77-009. EPA Center for Environmental Research Information, 26 West Martin Luther King Drive, Cincinnati, Ohio 45268, http://www.epa.gov/nscep/index.html.

(k) U.S. Environmental Protection Agency, 1979. Sludge Treatment and Disposal – Process Design Manual. EPA-625/1-79-011. EPA Center for Environmental Research Information, 26 West Martin Luther King Drive, Cincinnati, Ohio 45268, http://www.epa.gov/nscep/index.html.

(l) U.S. Environmental Protection Agency, 1974. Design Criteria for Mechanical, Electric, and Fluid System and Component Reliability – MCD-05. EPA-430/99-74-001. Environmental Quality Instructional Resources Center, The Ohio State University, 1200 Chambers Road, Room 310, Columbus, Ohio 43212, http://www.epa.gov/nscep/index.html.

(m) U.S. Environmental Protection Agency, 1974. Protection of Shellfish Waters – MCD-06. EPA-430/9-74-010. Environmental Quality Instructional Resources Center, The Ohio State University, 1200 Chambers Road, Room 310, Columbus, Ohio 43212, http://www.epa.gov/nscep/index.html.

(n) U.S. Environmental Protection Agency, 1977. Procedures Manual for Groundwater Monitoring at Solid Waste Disposal Facilities. EPA-530/SW-611. National Technical Information Service, 5285 Port Royal Road, Springfield, Virginia 22161, http://www.epa.gov/nscep/index.html.

(o) U.S. Environmental Protection Agency, 1980. Design Manual ‒ Onsite Wastewater Treatment and Disposal Systems. EPA-625/1-80-012. EPA Center for Environmental Research Information, 26 West Martin Luther King Drive, Cincinnati, Ohio 45268, http://www.epa.gov/nscep/index.html.

(p) U.S. Department of Agriculture, Soil Conservation Service, 1973. Drainage of Agricultural Land. Water Information Center, Inc., 125 East Bethpage Road, Plainview, New York 11803, http://www.nrcs.usda.gov/.

(q) Florida Department of Transportation, 1985. Florida Land Use, Cover and Forms Classification System. Procedure No. 550-010-001-A. Florida Department of Transportation, Maps and Publications Sales, Mail Station 12, 605 Suwannee Street, Tallahassee, Florida 32399-0450, http://www.dot.state.fl.us/surveyingandmapping/.

(r) U.S. Environmental Protection Agency, 1976. Direct Environmental Factors at Municipal Wastewater Works – MCD-20. EPA-430/9-76-003. Environmental Quality Instructional Resources Center, The Ohio State University, 1200 Chambers Road, Room 310, Columbus, Ohio 43212, http://www.epa.gov/nscep/index.html.

(s) U.S. Environmental Protection Agency, 1984. Land Treatment of Municipal Wastewater – Supplement on Rapid Infiltration and Overland Flow – Process Design Manual. EPA-625/1-81-013a. EPA Center for Environmental Research Information, 26 West Martin Luther King Drive, Cincinnati, Ohio 45268, http://www.epa.gov/nscep/index.html.

(t) U.S. Environmental Protection Agency, 1986. Municipal Wastewater Disinfection – Design Manual. EPA-625/1-86-021. EPA Center for Environmental Research Information, 26 West Martin Luther King Drive, Cincinnati, Ohio 45268, http://www.epa.gov/nscep/index.html.

(5) Members of the public may request and obtain copies of the publications listed in subsection 62-600.300(4), F.A.C., above by contacting the appropriate publisher at the address indicated. Copies of the above publications are on file and available for review in the Department’s Tallahassee offices and in the Department's district and branch offices where they may be reviewed during normal business hours.

Rulemaking Authority 403.051, 403.061, 403.086, 403.087, 403.088, 403.913 FS. Law Implemented 403.021, 403.051, 403.061, 403.062, 403.085, 403.086, 403.087, 403.088, 403.913, 403.918 FS. History–New 11-27-89, Amended 1-30-91, 6-8-93, Formerly 17-600.300, Amended 12-24-96, 2-8-16.