## 40D-21.621 Phase I: Moderate Water Shortage.

(1) A Phase I Water Shortage is a hydrologic or climatic condition in which at least one regional or local Drought Indicator has a moderately abnormal value. Upon declaration of a Phase I Water Shortage, the District will provide notice to affected local governments and Permittees about current conditions and weather predications, and those restrictions and other response mechanisms set forth below and any other response mechanisms that are in effect for the Phase I Water Shortage.

(2) Indoor Uses. The notice specified in subsection 40D-21.275(1), F.A.C., will include practical tips about how to prevent wasteful and unnecessary Indoor Use through the use of water conserving measures and devices. The notice may refer water users to website material or fact sheets for this or additional information.

(3) Essential Use.

(a) Fire Fighting.

1. Fire hydrant testing shall not be restricted. However, each fire department shall review or develop processes through which it can address inquiries from the District and citizens about specific testing activity, so that citizens will understand that some fire hydrant testing is necessary to protect human health, safety and welfare;

2. Fire suppression and fire prevention activities shall not be restricted. However, each fire department or other fire-fighting agency should identify back-up water sources in anticipation of drought conditions that could result in the loss of primary sources, especially in areas where potable water is not available for fire-fighting purposes.

3. Maintenance of fire fighting facilities and equipment, including fire engines and other emergency Mobile Equipment, shall not be restricted, except as provided in subsection 40D-21.601(4), F.A.C. This specifically includes the use of a trigger (self-canceling) nozzle on any garden-type hose used for cleaning or other maintenance purposes.

4. The notice specified in subsection 40D-21.275(4), F.A.C., that is sent to fire and rescue officials will summarize the requirements listed above.

(b) Water Utility Use.

1. Any water utility governed by a District-approved WSMP pursuant to Rule 40D-22.441, F.A.C., shall prepare to activate applicable provisions.

2. As appropriate, given its staff resources and its relationship to local code and law enforcement, each water utility shall develop enforcement procedures for Water Shortage restrictions. This shall specifically include a mechanism for notifying the District of possible violations involving a Permittee. If the utility is a nongovernmental entity, or if a governmental agency other than the utility has responsibility for enforcement of the District’s Water Shortage orders, the procedures shall specifically include a mechanism for coordination with the applicable local agency.

3. Potable water, sanitary sewer and reclaimed water line flushing and disinfection shall not be restricted. However, each utility shall develop processes through which it can address inquiries from the District and citizens about specific flushing and disinfection activity, so that citizens will understand that some flushing is necessary to protect human health, safety and welfare.

4. The notice specified in subsections 40D-21.275(2) and (4), F.A.C., that is sent to local elected officials and public supply Permittees will summarize the requirements listed above.

(c) Medical and Health Use.

1. The use of water for medical purposes shall not be restricted.

2. Other uses necessary for the protection of public health, safety and welfare shall not be restricted.

(4) Commercial and Industrial Use. In addition to the requirements of any applicable Water Use Permit, the following restrictions and other response mechanisms shall apply to all Commercial and Industrial Use, as appropriate:

(a) All commercial and industrial Permittees shall review current water conservation programs to assure that permit-required elements have been fully implemented and to determine what additional demand management measures could be reasonably employed, should resource conditions further deteriorate.

(b) Commercial and industrial use shall continue to be restricted by any applicable Water Use Permit.

(5) Agricultural Use.

(a) All Agricultural Permittees shall review current water conservation programs to assure that permit-required elements have been fully implemented and to determine what additional demand management measures could be temporarily employed, should resource conditions further deteriorate.

(b) The following restrictions on water use shall apply, as appropriate:

1. Agriculture shall comply with the allowable watering hours, exemptions from those hours and other provisions specified in Chapter 40D-22, F.A.C. These provisions expressly include exemptions for irrigation needed for plant protection, including prevention of frost and freeze or heat damage and to water-in chemicals. Additionally, any Agricultural water user with a variance from Chapter 40D-22, F.A.C., to follow a published BMPs document, shall continue to comply with the variance. In the context of allowable watering hours, Agricultural Uses of center pivot and traveling gun technologies shall have the same exemptions as Low-Volume Irrigation.

2. Agricultural Use shall continue to be restricted by any applicable Water Use Permit.

(6) Landscape Use.

(a) All Permittees authorized to use water for Landscape Use shall review current water conservation programs to assure that permit-required elements have been fully implemented and to determine what additional demand management measures could be temporarily employed, should resource conditions further deteriorate.

(b) Lawn and Landscaping, Golf Course, Driving Range and Other Athletic Play Area use shall comply with all applicable provisions of Chapter 40D-22, F.A.C.

(c) An example copy of the notice specified in subsection 40D-21.275(3), F.A.C., shall be sent to the Florida Department of Financial Services – Bureau of Cemetery Services and will include a summary of the requirements listed above.

(7) Other Uses.

(a) All Permittees authorized to use water for purposes not described above shall review current water conservation programs to assure that permit-required elements have been fully implemented and to determine what additional demand management measures could be temporarily employed, should resource conditions further deteriorate.

(b) The following restrictions on water use shall apply to each other water use activity, as appropriate:

1. Lawn and Landscaping Use associated with any activity shall comply with applicable provisions of Chapter 40D-22, F.A.C. This specifically includes an allowance for the operation of an irrigation system during otherwise restricted days or hours for the discharge of water from air conditioning units or similar water-dependent devices.

2. Recycling or secondary use of water shall occur, to the maximum extent practicable. For example, a child’s water slide or other recreational water device can be positioned so that it discharges onto a turfgrass area that requires irrigation.

3. Water use essential to the activity, such as rinsing as part of the process of Mobile Equipment cleaning is restricted only as provided in subsection 40D-21.601(2), F.A.C. For example, this means that rinsing is allowed if done with the use of a trigger (self-canceling) nozzle on any garden-type hose used for cleaning or other maintenance purposes.

Rulemaking Authority 373.044, 373.113 FS. Law Implemented 373.175, 373.246 FS. History–New 11-19-84, Amended 7-2-86, 5-30-93, 4-9-06.