- 69A-51.001 Scope.

(1) The rules contained in this chapter shall establish provisions to safeguard life, limb, and property by specifying minimum standards for the construction, installation, operation, maintenance, inspection, and repair of boilers located in this state after October 1, 1987, and for the inspection of boilers in places of public assembly. There shall be a joint responsibility among the owner, the user, and the operating employees for compliance with this chapter.

(2) These rules do not presume to limit in any way the builder’s right to choose any method of design or form of construction which conforms to the codes and standards adopted in these rules. The codes and standards adopted contain fundamental features of construction and leave a number of details to the judgment of designers and inspectors.

(3) Special designs which are not covered by the codes and standards may be determined by the manufacturer in cooperation with the purchaser, subject to the approval of the Boiler Safety Program of the Department of Financial Services.

(4) These rules shall be enforced in conjunction with the codes adopted herein.

Rulemaking Authority 554.103 FS. Law Implemented 554.103, 554.104, 554.108, 554.1101 FS. History–New 2-27-89, Formerly 4A-51.001, Amended 4-10-16.