Notice of Proposed Rule

DEPARTMENT OF LAW ENFORCEMENT

Division of Local Law Enforcement Assistance

RULE NO.:	RULE TITLE:

11D-8.0035	Approval of Alcohol Reference Solution and Sources

PURPOSE AND EFFECT: Paragraph 11D-8.0035(2)(a), F.A.C.: Adds specificity to the rule to clarify the approval process for alcohol reference solutions.

Subsection 11D-8.0035(4), F.A.C.: Repeals this paragraph because it is no longer necessary with the added specificity to paragraph (2)(a) of this rule section.

SUMMARY: Removes requirement that all analysis results shall fall within the alcohol reference solution acceptable range; and removes language dealing with post-approval analysis.

SUMMARY OF STATEMENT OF ESTIMATED REGULATORY COSTS AND LEGISLATIVE RATIFICATION: The Agency has determined that this will not have an adverse impact on small business or likely increase directly or indirectly regulatory costs in excess of $200,000 in the aggregate within one year after the implementation of the rule. A SERC has not been prepared by the Agency.

The Agency has determined that the proposed rule is not expected to require legislative ratification based on the statement of estimated regulatory costs or if no SERC is required, the information expressly relied upon and described herein: The proposed rule is not expected to exceed any of the criteria set forth in Section 120.541(2)(a), F.S., and thus, a legislative ratification is not required under Section 120.541(3), F.S. This determination is based upon the nature of the subject matter of the proposed amendment.

Any person who wishes to provide information regarding a statement of estimated regulatory costs, or provide a proposal for a lower cost regulatory alternative must do so in writing within 21 days of this notice.

RULEMAKING AUTHORITY: 316.1932(1)(a)2., (f)1., 316.1933(2)(b), 316.1934(3), 322.63(3)(a), (b), 327.352(1)(b)3. FS.

LAW IMPLEMENTED: 316.1932(1)(b)2., 316.1933(2)(b), 316.1934(3), 322.63(3)(b), 327.352(1)(e), 327.353(2), 327.354(3) FS.

IF REQUESTED WITHIN 21 DAYS OF THE DATE OF THIS NOTICE, A HEARING WILL BE HELD AT THE DATE, TIME AND PLACE SHOWN BELOW:

DATE AND TIME: Wednesday, June 29, 2016, 10:00 a.m.

PLACE: Florida Department of Law Enforcement, 2331 Phillips Road, Tallahassee, Florida 32308

Pursuant to the provisions of the Americans with Disabilities Act, any person requiring special accommodations to participate in this workshop/meeting is asked to advise the agency at least 5 days before the workshop/meeting by contacting: The Alcohol Testing Program at (850)617-1290, or alcoholtestingprogram@fdle.state.fl.us, or write to Florida Department of Law Enforcement, Criminal Justice Professionalism, Alcohol Testing Program, 2331 Phillips Road, Tallahassee, Florida 32308. If you are hearing or speech impaired, please contact the agency using the Florida Relay Service, 1(800)955-8771 (TDD) or 1(800)955-8770 (Voice).

THE PERSON TO BE CONTACTED REGARDING THE PROPOSED RULE IS: Patrick Murphy, Ph.D., ATP Program Manager at (850)617-1290, or alcoholtestingprogram@fdle.state.fl.us, or write to Florida Department of Law Enforcement, Criminal Justice Professionalism, Alcohol Testing Program, 2331 Phillips Road, Tallahassee, Florida 32308

THE FULL TEXT OF THE PROPOSED RULE IS:

11D-8.0035 Approval of Alcohol Reference Solution and Sources.

(1) No change.

(2) The Department shall approve each lot of alcohol reference solution prior to distribution for use in Florida.

(a) The Department shall determine the alcohol concentration in a minimum of ten (10) sample bottles of each lot of alcohol reference solution using gas chromatography or other scientifically accepted method at the time such lots are submitted for approval. Duplicate analyses will be performed on each sample bottle of alcohol reference solution. If any result falls outside the alcohol reference solution acceptable range, a second set of analyses will be performed. If the second set of results are within the alcohol reference solution acceptable range, the alcohol reference solution shall be approved. If any of the results fall outside the alcohol reference solution acceptable range a second time, the alcohol reference solution shall be disapproved. All analysis results shall fall within the alcohol reference solution acceptable range.

(b) No change.

(3) No change.

(4) Approval analyses of alcohol reference solution lots shall be based on requirements and procedures in effect at the time such lots are submitted for approval. No post-approval analysis is required for previously approved alcohol reference solution lots.

Rulemaking Authority 316.1932(1)(a)2., (f)1., 322.63(3)(a), 327.352(1)(b)3., (d) FS. Law Implemented 316.1932(1)(b)2., 316.1934(3), 322.63(3)(b), 327.352(1)(e), 327.354(3) FS. History–New 7-6-99, Amended 7-29-01, 12-9-04, 7-29-15, _________.

NAME OF PERSON ORIGINATING PROPOSED RULE: Patrick Murphy, Ph.D., ATP Program Manager

NAME OF AGENCY HEAD WHO APPROVED THE PROPOSED RULE: Governor and Cabinet

DATE PROPOSED RULE APPROVED BY AGENCY HEAD: March 02, 2016

DATE NOTICE OF PROPOSED RULE DEVELOPMENT PUBLISHED IN FAR: December 29, 2016