Notice of Variances and Waivers

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION

Division of Hotels and Restaurants

RULE NO.:	RULE TITLE:

61C-5.001	Safety Standards

The Department of Business and Professional Regulation, Division of Hotels and Restaurants, Bureau of Elevator Safety hereby gives notice:

On March 31, 2016, the Division issued an order. The Final Order was in response to a Petition for an emergency permanent variance from Riverplace Tower, filed February 19, 2016, and advertised on February 29, 2016, in Vol. 42, No. 40, of the Florida Administrative Register. No comments were received in response to the petition. The Final Order on the Petition for Variance grants the Petitioner a permanent variance from Rule 2.1.4, ASME A17.1, 2009 edition, as adopted by paragraph 61C-5.001(1)(a), Florida Administrative Code, that requires utilizing duct work as a means of ventilation of smoke and hot gas in the hoistway because the Petitioner has demonstrated that the purpose of the underlying statute has been met and that Petitioner would suffer a substantial hardship if required to comply with this rule (VW2016-038).

A copy of the Order or additional information may be obtained by contacting: Michelle Comingore, Bureau of Elevator Safety, 1940 North Monroe Street, Tallahassee, Florida 32399-1013, dhr.elevators@myfloridalicense.com.