Notice of Variances and Waivers

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION

Division of Hotels and Restaurants

RULE NO.:	RULE TITLE:

61C-5.001	Safety Standards

NOTICE IS HEREBY GIVEN that on April 4, 2016, the Department of Business and Professional Regulation, Division of Hotels and Restaurants, Bureau of Elevator Safety, received a petition for St Johns River Power Park located at 11201 New Berlin Road, Jacksonville, FL. Petitioner seeks an emergency variance of the requirements of ASME A17.1, Section 2.27.3.2.1, 2009 edition as adopted by subsection 61C-5.001(1), Florida Administrative Code, that requires Phase I emergency recall operation by fire alarm initiating device. Any interested person may file comments within 5 days of the publication of this notice with Michelle Comingore, Bureau of Elevator Safety, 1940 North Monroe Street, Tallahassee, Florida 32399-1013 (VW2016-080).

A copy of the Petition for Variance or Waiver may be obtained by contacting: Michelle Comingore, Bureau of Elevator Safety, 1940 North Monroe Street, Tallahassee, Florida 32399-1013, dhr.elevators@myfloridalicense.com.