Notice of Variances and Waivers

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION

Division of Hotels and Restaurants

RULE NO.:	RULE TITLE:

61C-5.001	Safety Standards

The Department of Business and Professional Regulation, Division of Hotels and Restaurants, Bureau of Elevator Safety hereby gives notice:

On April 21, 2016, the Division issued an order. The Final Order was in response to a Petition for an emergency Variance from Community United Methodist Church, filed March 24, 2016, and advertised on March 28, 2016 in Vol. 42, No. 60, of the Florida Administrative Register. No comments were received in response to the petition. The Final Order on the Petition for Variance grants the Petitioner a variance from Rule 2.2.2.6, ASME A17.1b, 2009 edition, as adopted by paragraph 61C-5.001(1)(a) Florida Administrative Code, that requires sump pump cover to be level with the pit floor because the Petitioner has demonstrated that the purpose of the underlying statute has been met and that Petitioner would suffer a substantial hardship if required to comply with this rule (VW2016-069).

A copy of the Order or additional information may be obtained by contacting: Michelle Comingore, Bureau of Elevator Safety, 1940 North Monroe Street, Tallahassee, Florida 32399-1013, dhr.elevators@myfloridalicense.com.