Notice of Declaratory Statement

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION

Florida Building Commission

RULE NO.:	RULE TITLE:

61G20-1.001	Florida Building Code Adopted

NOTICE IS HEREBY GIVEN that the Florida Building Commission has received the petition for declaratory statement from the City of Tarpon Springs. The petition seeks the agency’s opinion as to the applicability of Section 404, Florida Building Code 5th edition (2014), Fuel Gas & Section G2415, Florida Building Code 5th edition (2014), Residential as it applies to the petitioner.

Petitioner seeks clarification as to whether an isolation valve is required to be installed on a new gas piping system for each intended appliance prior to final inspection & whether labeling is required for a future stub out (2lbs or more per appliance) are on the same piping system.

A copy of the Petition for Declaratory Statement may be obtained by contacting: Agency Clerk’s Office, Department of Business and Professional Regulation, 1940 North Monroe Street, Suite 92, Tallahassee, Florida 32399-2203, (850)921-0342, AGC.Filing@myfloridalicense.com.

Please refer all comments to: Mo Madani, Building Codes and Standards Office, Department of Business and Professional Regulation, Suite 90A, 1940 North Monroe, Tallahassee, Florida 32399, (850)487-1824, mo.madani@myfloridalicense.com OR April L. Hammonds, Office of the General Counsel, Department of Business and Professional Regulation, 1940 North Monroe Street, Tallahassee, Florida 32399-1000, (850)487-1824, april.hammonds@myfloridalicense.com. RESPONSES, MOTIONS TO INTERVENE, OR REQUESTS FOR A HEARING MUST BE FILED WITHIN 21 DAYS OF THIS NOTICE.