Notice of Variances and Waivers

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION

Division of Hotels and Restaurants

RULE NO.: RULE TITLE:

61C-5.001: Safety Standards

NOTICE IS HEREBY GIVEN that on May 05, 2016, the Department of Business and Professional Regulation, Division of Hotels and Restaurants, Bureau of Elevator Safety, received a petition for Navy Federal Credit Union at 4810 W Nine Mile Road, Pensacola, FL. Petitioner seeks an emergency temporary variance of the requirements of ASME A17.1, Section 2.27.2.3, 2009 edition, as adopted by subsection 61C-5.001(1), F.A.C., that requires an illuminated signal marked “Elevator Emergency Power” to be provided in the elevator lobby to indicate normal power supply has failed and emergency power is in effect, because control wires have not yet been installed. Any interested person may file comments within 5 days of the publication of this notice with Michelle Comingore, Bureau of Elevator Safety, 1940 North Monroe Street, Tallahassee, Florida 32399-1013 (VW2016-113).

A copy of the Petition for Variance or Waiver may be obtained by contacting: Michelle Comingore, Bureau of Elevator Safety, 1940 North Monroe Street, Tallahassee, Florida 32399-1013. dhr.elevators@myfloridalicense.com