- 5F-4.001 Purpose.

(1) The Department of Agriculture and Consumer Services hereby adopts the “Uniform Regulation for the Voluntary Registration of Servicepersons and Service Agencies for Commercial Weighing and Measuring Devices” as published by the United States Department of Commerce, National Institute of Standards and Technology, in NIST Handbook 130, 2016 Edition, as the rule for voluntary registration of servicepersons and service agencies for commercial weighing and measuring devices, and incorporates said uniform regulation herein by this reference. A copy of NIST Handbook 130 (Section: Uniform Regulation for the Voluntary Registration of Servicepersons and Service Agencies for Commercial Weighing and Measuring Devices), 2016 Edition, may be obtained from the National Institute of Standards and Technology, 100 Bureau Drive, Gaithersburg, MD 20899-2100 or http://www.flrules.org/Gateway/reference.asp?No=Ref-06706. A copy of this handbook is also available for public inspection during regular business hours at the Florida Department of Agriculture and Consumer Services, Division of Consumer Services, Bureau of Standards, 3125 Conner Boulevard, Lab #2, Tallahassee, Florida 32399-1650, Phone: (850)921-1570.

(2) There will be no fee for registration of Servicepersons or Service Agencies.

(3) The Certificate of Registration for each Serviceperson or Service Agency shall expire two years from the date of issuance.

(4) Standards and Testing Equipment used by Servicepersons or Service Agencies in service and testing functions shall be examined and recertified by the Florida Department of Agriculture and Consumer Services, Division of Consumer Services, Bureau of Standards at least biennially.

(5) Reporting required by this rule shall be made to the Division of Consumer Services, Bureau of Standards, 3125 Conner Boulevard, Lab #2, Tallahassee, Florida 32399-1650, Phone: (850)921-1570.

Rulemaking Authority 531.41(3) FS. Law Implemented 531.41(7) FS. History–New 1-1-73, Formerly 5F-4.01, Amended 6-14-95, 5-25-16.