Notice of Declaratory Statement

DEPARTMENT OF FINANCIAL SERVICES

Division of State Fire Marshal

NOTICE IS HEREBY GIVEN that on May 24, 2016, the Department of Financial Services, Division of State Fire Marshal has issued an order disposing of the petition for declaratory statement filed by Avcon, Inc., o/b/o Kaman Precision Products, Inc. on March 15, 2016. The following is a summary of the agency’s disposition of the petition:

The Notice of Petition for Declaratory Statement was published March 22, 2016, in Vol. 42, No. 56 of the Florida Administrative Register. The Petition asks whether a proposed structure(s) will comply with NFPA 495-Explosive Materials Code sections 9.2.3, 9.3.1(b), and Table 9.4.1(b) Note 13. The Petition was answered in the affirmative. The structure(s) will comply with sections 9.2.3, 9.3.1(b), and Table 9.4.1(b) Note 13, pursuant to section 1.5 Equivalency.

A copy of the Order Disposing of the Petition for Declaratory Statement may be obtained by contacting: Colleen N.Wertz Rio, Assistant General Counsel, Department of Financial Services, 200 E. Gaines Street, Tallahassee, Florida 32399-0333 or colleen.rio@myfloridacfo.com.