- 40C-3.500 Scope of Part II.

This Part sets forth the standards and criteria for the construction, repair and abandonment of wells, including all provisions contained in Chapter 62-532, F.A.C., which is incorporated by reference in subsection 40C-3.036(2), F.A.C. When Polvinyl Chloride (PVC) pipe is used for well casing, liner pipe, or well screens, it shall, at a minimum, meet the specifications for Schedule 40 of the ASTM F480-14, which is incorporated by reference in subsection 40C-3.036(10), F.A.C. All wells within the District boundaries must comply with all of these standards regardless of whether a permit is required under Part I.

Rulemaking Authority 373.044, 373.113 FS. Law Implemented 373.308, 373.309, 373.313 FS. History–New 10-14-84, Formerly 40C-3.500, 40C-3.0500, Amended 9-17-89, 7-27-16.