Notice of Variances and Waivers

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION

Division of Hotels and Restaurants

RULE NO.:	RULE TITLE:

61C-5.001	Safety Standards

The Department of Business and Professional Regulation, Division of Hotels and Restaurants, Bureau of Elevator Safety hereby gives notice:

On July 13, 2016, the Division issued an order. The Final Order was in response to a Petition for an emergency Variance from Church of Scientology West Coast Building, filed June 24, 2016, and advertised on June 29, 2016 in Vol. 42, No. 126, of the Florida Administrative Register. No comments were received in response to the petition. The Final Order on the Petition for Variance grants the Petitioner a variance from Rules 2.2.4, 2.6.3, 2.7.4, 3.4.4, 3.9.2, 3.10.3, and 3.11.1, ASME A17.3, 1996 edition, as adopted by paragraph 61C-5.001(1)(a), Florida Administrative Code, that requires machine room ventilation, hoistway door vision panels, restricted door opening, car top emergency exit, final terminal stopping devices, top of car operating devices, and car emergency signals because the Petitioner has demonstrated that the purpose of the underlying statute has been met and that Petitioner would suffer a substantial hardship if required to comply with this rule (VW2016-151).

A copy of the Order or additional information may be obtained by contacting: Michelle Comingore, Division of Hotels and Restaurants, Bureau of Elevator Safety, 2601 Blair Stone Road, Tallahassee, Florida 32399-1013, dhr.elevators@myfloridalicense.com.