Notice of Variances and Waivers

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION

Division of Hotels and Restaurants

RULE NO.:	RULE TITLE:

61C-5.001:	Safety Standards

The Department of Business and Professional Regulation, Division of Hotels and Restaurants, Bureau of Elevator Safety hereby gives notice:

On August 2, 2016, the Division issued an order. The Final Order was in response to a Petition for an emergency permanent Variance from The Jewel, filed June 16, 2016, and advertised on June 23, 2016, in Vol. 42, No. 122, of the Florida Administrative Register. No comments were received in response to the petition. The Final Order on the Petition for Variance grants the Petitioner a variance from Rules 3007.4.1, 3007.4.4, and 3007.5, 2010 Florida Building Code that requires the roof level from the fire service access elevator lobby having direct access to an exit enclosure, a lobby size of 150 square feet, and a direct access from the fire service access elevator lobby to the Class I standpipe hose connection because the Petitioner has demonstrated that the purpose of the underlying statute has been met and that Petitioner would suffer a substantial hardship if required to comply with this rule (VW2016-142).

A copy of the Order or additional information may be obtained by contacting Michelle Comingore, Division of Hotels and Restaurants, Bureau of Elevator Safety, 2601 Blair Stone Road, Tallahassee, Florida 32399-1013, dhr.elevators@myfloridalicense.com.