57-7.006 Hazardous Materials System Hardware Requirements.

(1) Hazardous chemical hardware shall be designed by qualified engineers using industry standards to prevent hazardous chemicals from spilling or leaking, and, thereby, injuring personnel, property, or contaminating the environment, in accordance with DOT regulations, 49 C.F.R. Parts 177-379, incorporated by reference herein.

(2) Components of hazardous chemical systems shall feature redundant mechanical or welded seals at all fittings to prevent the inadvertent flow or release of caustic, toxic, and reactive chemicals.

Specific Authority 331.314 FS. Law Implemented 331.314 FS. History–New 2-8-01.