## 62-762.421 Financial Responsibility.

(1) Financial responsibility is the ability to pay for cleanup of a discharge and third-party liability resulting from a discharge of petroleum or petroleum product at the facility.

(2) Financial responsibility shall be maintained and demonstrated to the County or Department for all storage tank systems until the storage tank systems are properly closed pursuant to subsections 62-762.801(2) and (3), and 62-762.802(3) and (4), F.A.C., and the Closure Report or the Limited Closure Report Form for ASTs 62-762.901(8), effective date, January 2017, hereby adopted and incorporated by reference, is submitted to and approved by the County or the Department. To obtain copies of Form 62-762.901(8), see Rule 62-762.901, F.A.C., or http://www.flrules.org/Gateway/reference.asp?No=Ref-07696, or the Department’s website at https://floridadep.gov/waste/permitting-compliance-assistance/content/storage-tank-system-rules-forms-and-reference. Pursuant to Section 376.309(1), F.S., the facility owner is required to establish and maintain evidence of financial responsibility and is liable in event of noncompliance. If the facility owner, facility operator, tank owner, and tank operator are separate persons, then evidence of financial responsibility may be demonstrated if one of those persons obtains financial responsibility on behalf of the facility owner.

(3) The demonstration of financial responsibility for storage tank systems shall be made in accordance with reference guideline Technical Standards And Corrective Action Requirements For Owners And Operators Of Underground Storage Tanks (UST), Financial Responsibility, 40 C.F.R. Part 280, Subpart H, July 15, 2015, hereby adopted and incorporated by reference and available from the publisher at the Government Printing Office, Code of Federal Regulations, 732 North Capitol Street, N.W., Washington, DC 20401-0001, or http://www.flrules.org/Gateway/reference.asp?No=Ref-07664, or http://www.ecfr.gov/cgi-bin/ECFR?page=browseprevious&pitd=00000000&SID=b4aa1b4450ccd422c899ad31b3659271, or the Department address located in subsection 62-762.211(1), F.A.C. However, Department Form 62-761.900(3) effective date, January 2017, Financial Mechanisms for Storage Tanks, hereby adopted and incorporated by reference, and available in Rule 62-761.900, F.A.C., or http://www.flrules.org/Gateway/reference.asp?No=Ref-07661, or the Department’s website at https://floridadep.gov/waste/permitting-compliance-assistance/content/storage-tank-system-rules-forms-and-reference, can be used in lieu of the United States Environmental Protection Agency’s financial mechanisms; except that:

(a) For a facility with a storage tank system or systems with a cumulative capacity greater than 550 gallons and less than or equal to 10,000 gallons, the demonstration of financial responsibility for cleanup of a discharge and third-party liability shall be a minimum of $500,000.00 per incident, and $1,000,000.00 million annual aggregate.

(b) For a facility with a storage tank system or systems with a cumulative capacity greater than 10,000 gallons and less than or equal to 30,000 gallons, the demonstration of financial responsibility for cleanup of a discharge and third-party liability shall be a minimum of $1,000,000.00 million per incident, and $1,000,000.00 million annual aggregate.

(c) For a facility with a storage tank system or systems with a cumulative capacity greater than 30,000 gallons and less than or equal to 250,000 gallons the demonstration of financial responsibility for cleanup of a discharge and third-party liability shall be a minimum of $1,000,000.00 million per incident, and $2,000,000.00 million annual aggregate.

(d) For a facility with a storage tank system or systems with a cumulative capacity greater than 250,000 gallons, the demonstration of financial responsibility for cleanup of a discharge and third-party liability shall be a minimum of $3,000,000.00 million per incident, and $6,000,000.00 million annual aggregate.

Holders of financial responsibility mechanisms and facility owners are encouraged to permanently maintain evidence of financial responsibility and all correspondence with respect to coverage and claims.

(4) The appropriate part(s) of Form 62-761.900(3) shall be used when demonstrating proof of financial responsibility under this Rule, and will satisfy the Certification of Financial Responsibility requirements of 40 C.F.R. 280.111(b)(11), July 15, 2015. Facility owners shall ensure that copies of the current financial responsibility document(s) are available for inspection at the facility where the storage tank system(s) is located or at their place of business. Records kept off-site shall be made available for inspection by the Department or County within five business days from the receipt of the Department’s or County’s request.

(5) Financial requirements for the purpose of this rule, regardless of the date of installation of storage tank systems, shall comply with 40 C.F.R. Part 280, Subpart H, July 15, 2015.

(6) Notwithstanding the facility owner’s financial responsibility status, those persons specified in Section 376.308(1), and Sections 403.141 and .161, F.S., shall be liable for any discharge at the facility.

(7) Financial responsibility mechanisms may not include choice of law and venue in favor of jurisdictions other than Florida.

Rulemaking Authority 376.303 FS. Law Implemented 376.303, 376.308, 376.309, 403.091, 403.141, 403.161 FS. History-New 1-11-17. 
Editorial Note: Portions of this rule were copied from Rule 62-762.401, F.A.C.