Notice of Development of Rulemaking

DEPARTMENT OF HEALTH

Division of Environmental Health

RULE NOS.:	RULE TITLES:

64E-1.0015	Laboratory Certification Standards

64E-1.005	Records, Reports, and Contractual Agreements

64E-1.007	Fees and Certification Categories

64E-1.102	Certification Requirements

64E-1.104	On-Site Inspections

64E-1.105	Display of Certificate and Use of Certification

64E-1.106	Proficiency Testing Requirements

64E-1.107	Renewal of Annual Certification

PURPOSE AND EFFECT: The purpose of these amendments is to update the standards used as the criteria for determining environmental testing laboratory certification to the more recent version. In addition, since routine on-site inspections are conducted by contract assessment providers, these amendments also lower the certification fees charged to laboratories.

SUBJECT AREA TO BE ADDRESSED: Requirements to be a Certified Environmental Testing Laboratory.

RULEMAKING AUTHORITY: 403.0625(3), 403.863(1), (2) FS.

LAW IMPLEMENTED: 403.0625(1), (2), (3), 403.851, 403.863(1), (2), (3), (7), 403.8635(1), (2), (3) FS.

A RULE DEVELOPMENT WORKSHOP WILL BE HELD AT THE DATE, TIME AND PLACE SHOWN BELOW:

DATE AND TIME: March 10, 2017, 9:00 a.m.;

PLACE: Florida Department of Health, Public Health Laboratory, 1217 N. Pearl Street, Jacksonville, FL 32202

THE PERSON TO BE CONTACTED REGARDING THE PROPOSED RULE DEVELOPMENT AND A COPY OF THE PRELIMINARY DRAFT, IF AVAILABLE, IS: Carl C. Kircher, Ph.D., Bureau of Public Health Laboratories, Florida Department of Health, 1217 N. Pearl Street, Jacksonville, FL 32202; (904)791-1502 or carl.kircher@flhealth.gov.

THE PRELIMINARY TEXT OF THE PROPOSED RULE DEVELOPMENT IS:

- 64E-1.0015  Laboratory Certification Standards.

(1) Any environmental testing laboratory certified or seeking certification pursuant to this rule shall comply with  Sections 4.1.3, 4.6.1, 5.5.2.6, 6.2.2, and 6.8, National Environmental Laboratory Accreditation Conference (NELAC) Standards adopted June 5, 2003, which are incorporated herein by reference, and are available at http://www.nelac-institute.org/docs/2003nelacstandard.pdf.

(2) Additionally, any environmental testing laboratory certified or seeking certification pursuant to this rule shall comply with the following modules of Volume 1, "Management and Technical Requirements for Laboratories Performing Environmental Analysis", of the NELAC Institute, National Environmental Laboratory Accreditation Program,(TNI NELAP), hereinafter referred to as “the TNI Standards”: Module 1, “Proficiency Testing” (EL-V1M1-2016) and Module 2 "Quality Systems General Requirements" (EL-V1M2-ISO-2016).  In addition to these Standards, and as applicable, any environmental testing laboratory certified or seeking certification in the following disciplines pursuant to rules 64E-1.007(2)(a) and (b) of this rule chapter shall comply with Module 3, "Asbestos Testing" (EL-V1M3-2016), Module 4, "Chemical Testing" (EL-V1M4-2016), Module 5, "Microbiological Testing" (EL-V1M5-2016), Module 6, "Radiochemical Testing" (EL-V1M6-2016), and Module 7, "Toxicity Testing" (EL-V1M7-2009-Rev 0.1) of Volume 1, "Management and Technical Requirements for Laboratories Performing Environmental Analysis", of the NELAC Institute, National Environmental Laboratory Accreditation Program.  All of the standards referenced in subsection (2) of this rule are incorporated herein by reference.  These standards may be examined and inspected at the Florida Department of State, Room 701, The Capitol, Tallahassee, Florida 32399-0250 and at the Florida Department of Health, Bureau of Public Health Laboratories, 1217 North Pearl Street, Jacksonville, Florida 32202.  The agency has determined that posting these publications on the internet for purposes of public inspection and examination would constitute a violation of federal copyright law.

- Rulemaking Specific Authority 381.00591, 403.0625(3), 403.863(1), (2) FS. Law Implemented:  381.00591, 403.0625(1), (2), (3) (4), 403.863(1), (2), (3), (4), (7), 403.8635(1), (2) FS. History:  New 4-16-00, Amended 6-30-03, 1-24-05,__________.

- 64E-1.005 Records, Reports, and Contractual Agreements.

(1) Laboratories shall maintain analytical performance according to Volume 1 of the TNI Standards Chapter 5 of the NELAC Standards, referenced in Rule 64E-1.0015, F.A.C., for those Fields of Accreditation (i.e., Matrix category group-test method-analyte combinations), for those analytes and test methods with which they have been certified or are seeking certification, through demonstrations of capability performed annually or within the past year, respectively.  Each certified laboratory shall maintain the documentation required in Volume 1, Module 2 of the TNI Standards Chapter 5 of the NELAC Standards and comply with the laboratory report format and content requirements in Section 5.10 of Volume 1, Module 2 of the TNI Standards 5.5.10 of the NELAC Standards.

(2) For compliance with the Florida Safe Drinking Water Act, the laboratory will report the information described in paragraph 62-550.730(2)(a), F.A.C., revised on  December 30, 2011 4-3-2003, incorporated herein by reference and available at https://www.flrules.org/gateway/ChapterHome.asp?Chapter=62-550 in the appropriate format approved by the Department of Environmental Protection.

(a) The laboratory may report presumptive positive microbiological results immediately without waiting for total coliform confirmation.  The laboratory shall report confirmed positive total coliform results to the supplier of water no later than the end of the next business day after confirmed positive total coliform results are determined.  The laboratory shall report positive fecal coliform or E. coli results to the supplier of water by the end of the day when the results are determined, unless the results are determined after the water supplier’s office is closed, in which case the laboratory shall report the results to the water supplier before the end of the next business day.  If a laboratory invalidates a sample due to heterotrophic interference as described in paragraph 62-550.518(9)(b), F.A.C., 62-550.518(10)(b), revised on July 7, 2015 and incorporated herein by reference and available at http://www.flrules.org/gateway/ChapterHome.asp?Chapter=62-550 4-3-2003, the replacement sample must be analyzed by a Department of Health (DOH)-certified laboratory using a method less susceptible to heterotrophic interference (e.g. MMO-MUG).

(b) Whenever a sample result, or the average of the results from an initial sample and a confirmation sample, exceeds the maximum contaminant level for nitrate, nitrite, or total nitrate-nitrite, the laboratory shall report the result to the supplier of water by the end of the day when the result was determined, unless the result was determined after the water supplier’s office is closed, in which case the laboratory shall report the result to the water supplier before the end of the next business day.

(c) Whenever a sample result exceeds the maximum contaminant level for any other contaminant listed in Rule 62-550.310, F.A.C., revised on July 7, 2015 4-25-2003, or in Rule 62-550.320, F.A.C., revised on November 27, 2001 and both incorporated herein by reference and available at https://www.flrules.org/gateway/ChapterHome.asp?Chapter=62-550 11-27-01, the laboratory shall report the result to the supplier of water no later than the end of the next business day after the result was determined.

(d) For the purposes of this chapter, a result is considered determined when the laboratory director or his/her designee signs or authenticates the report with the results.  The results shall be reported in such a manner that the supplier of water receives the results within the indicated timeframes in paragraphs (2)(a) through (2)(c) of this section.

- Rulemaking Specific Authority 381.00591, 403.0625(3), 403.863(1), (2) FS. Law Implemented:  381.00591, 403.0625(1), (2), (3) (4), 403.851, 403.863(1), (2), (3), (4), (7), 403.8635(1), (2) FS. History:  New 4-22-79, Amended 3-7-85, Formerly 10D-41.59, Amended 11-14-90, 8-5-93, 4-19-95, 4-25-96, Formerly 10D-41.059, Amended 4-16-00, 6-30-03, 1-24-05, ___________.

- 64E-1.007 Fees and Certification Categories.

(1) Application Fee - An applicant for certification must submit to DOH the Department of Health a non-refundable fee of $200 for the evaluation and processing of each application.  DOH The Department of Health shall assess an additional fee of $200 for each subsequent application for additional Fields of Accreditation, as defined in Volume 1, Module 2 Appendix A to Chapter 1 of the TNI NELAC Standards, referenced in Rule 64E-1.0015, F.A.C.

(2) Certification Fee - In addition to the application processing fee, DOH the Department of Health shall charge nonrefundable fees for the initial certification and on application for annual renewal for each category of certification in each category group in subsections 64E-1.007(6) through 64E-1.007(10), F.A.C., below as follows:

(a) Chemical Testing, Asbestos Testing, Toxicity Testing, and Microbiological Testing: Chemistry, Toxicity, Microscopy, and Microbiology 1. One category - $400, $500  2. Two categories - $800, $1000 3. Three categories - $1200, and $1500 4. Four or more categories - $1600. $2000

(b)  Radiochemical Testing Radiochemistry - $400. $500

(3)  Laboratories approved after July 1 shall have the certification fees prorated on a quarterly basis beginning with the quarter in which the department issues certification.

(4) Except for inspections conducted for the purposes of contract oversight of the DOH contract assessment providers, DOH The Department of Health shall charge assess the travel expenses it incurs as a result of on-site inspections to both the in-state and out-of-state laboratories, in addition to the application and certification fees in this section. An in-state laboratory shall reimburse the department for on-site inspection travel expenses if the department conducts an inspection, in addition to the inspection conducted pursuant to subsection 64E-1.104(1), F.A.C., at the laboratory’s written request.  If the department does not conduct the requested inspection within 60 days of the request, the department shall not charge these expenses to the laboratory.

(5) The laboratory shall pay all fees required by subsections (2) through (4) of this section within 90 days of the date of invoice.  For annual renewal of certification, the laboratory shall pay the fees required by subsection (2) of this section by July 1 of each calendar year.

(6) For the Drinking Water Matrix category group, certification is available in the following categories: (a) Microbiology, (b) Primary Inorganic Contaminants, (c) Secondary Inorganic Contaminants, (d) Radiochemistry, (e) Synthetic Organic Contaminants, (f) Dioxin, (g) Other Regulated Contaminants (e.g., Volatile Organic Contaminants), (h) Group I Unregulated Contaminants, (i) Group II Unregulated Contaminants, and (j) Group III Unregulated Contaminants.

(7) For the Non-Potable Water Matrix category group, including ambient monitoring of surface water and groundwater, certification is available in the following categories: (a) Microbiology, (b) Toxicity (Bioassay), (c) Radiochemistry, (d) Metals, (e) General Chemistry, (f) Volatile Organics, (g) Extractable Organics, and (h) Pesticides-Herbicides-PCB’s.

(8) For the Solid and Chemical Materials Matrix category group, certification is available in the following categories: (a) Microbiology, (b) Toxicity (Bioassay), (c) Radiochemistry, (d) Metals, (e) General Chemistry, (f) Volatile Organics, (g) Extractable Organics, and (h) Pesticides-Herbicides-PCB’s.

(9) For the Air and Emissions Matrix category group, the categories of certification available are: (a) General Chemistry, (b) Volatile Organics, (c) Extractable Organics, and (d) Pesticides-Herbicides-PCB’s.

(10) For the Biological Tissue Matrix category group, certification is available in the following categories: (a) Microbiology, (b) Toxicity (Bioassay), (c) Radiochemistry, (d) Metals, (e) General Chemistry, (f) Volatile Organics, (g) Extractable Organics, and (h) Pesticides-Herbicides-PCB’s.

- Rulemaking Specific Authority 381.00591, 403.0625(3), 403.863(1), (2), 403.8635(3) FS. Law Implemented:  381.00591, 403.0625(1), (3) (4), 403.863(2), (3) (4), 403.8635(3) FS. History:  New 3-7-85, Formerly 10D-41.62, Amended 12-12-89, 8-5-93, 4-19-95, 4-25-96, Formerly 10D-41.062, Amended 4-16-00, 6-30-03, ____________.

- 64E-1.102 Certification Requirements.

(1)  An application for certification shall be made in writing to DOH the Department of Health on Form DH 1762, December 2016, “Application for Certification of Environmental Testing Laboratories,” which is herein incorporated by reference and is available by calling the department’s Bureau of Public Health Laboratories (BPHL) at 904-791-1599, or at http://www.floridahealth.gov/licensing-and-regulation/environmental-laboratories/environmental-laboratory-certification/_documents/certapp1.pdf.  This application must be accompanied by the application fee, and the laboratory’s Quality Manual.  The If proficiency testing is available for the requested Fields of Testing, the laboratory must arrange for proficiency testing these results from the latest three testing round attempts to be submitted directly to DOH the Department of Health by the recognized proficiency test provider. DH 1762, "Application for Certification of Environmental Testing Laboratories," July 2004 is herein adopted by reference and is available by calling the department's Bureau of Laboratories at 904-791-1599.

(2) Separate application and certification shall be required for all laboratories maintained on separate premises even though operated under the same management; however, separate certification is not required for separate buildings on the same or adjoining grounds.

(3) An application is not completed until the laboratory has fulfilled all of the following requirements:

(a)  The application reviewed by DOH the Department of Health was found to contain all the information required in Form DH 1762, “Application for Certification of Environmental Testing Laboratories,” December 2016 Section 4.1.7 of the NELAC Standards, referenced in subsection (1) above Rule 64E-1.0015, F.A.C.

(b) The submitted Quality Manual contains all the information required in Section 5.4.2.3 and 5.4.2.4 of the NELAC Standards, referenced in Rule 64E-1.0015, F.A.C.

(b)(c) Proficiency test samples are successfully analyzed in two of the most recent three testing rounds attempted, if available from a recognized proficiency testing provider, as required in Rule 64E-1.106, F.A.C.

(c)(d) An on-site laboratory inspection has been conducted for the Fields of Accreditation for which the laboratory is seeking certification, as required in Rule 64E-1.104, F.A.C.

(d)(e) All applicable fees are paid as required in Rule 64E-1.007, F.A.C.

(4) An out-of-state laboratory shall be eligible for reciprocal certification provided:

(a) The laboratory is certified by a National Environmental Laboratory Accreditation Program (NELAP) recognized Accreditation Body accrediting authority for those Fields of Accreditation in which the laboratory is requesting certification pursuant to this rule,

(b) The laboratory submits to DOH the Department of Health the application and fee required in subsection 64E-1.102(1), F.A.C.,

(c) The laboratory submits to DOH the Department of Health a current copy of the laboratory's unexpired certification from the NELAP Accreditation Body accrediting authority and the certifying agency's analyte sheet showing those Fields of Accreditation for which the laboratory is certified.

(5) If upon review of the documents listed in subsection (4) above, DOH 64E-1.102(5), F.A.C., the Department of Health determines that the application process is complete and that the laboratory is already certified by its NELAP-recognized primary Accreditation Body accrediting authority for the same Fields of Accreditation requested on its application, DOH the Department of Health will not require an on-site survey by its inspectors and certification will be granted after the laboratory pays all applicable the certification fees required in Rule 64E-1.007, F.A.C.

(6) If upon review of the documents listed in subsection (4) above, DOH 64E-1.102(5), F.A.C., the Department of Health is unable to determine that the out-of-state certification program is equivalent to the requirements of this rule, DOH or its authorized representatives will conduct an on-site inspection will be performed by the Department of Health.

(7) All certified or applicant laboratories The laboratory will be responsible for the travel expenses incurred by DOH or its authorized representatives for any the on-site inspection.

(8) The laboratory must report to DOH's BPHL within 30 calendar days of the change all significant changes relevant to its certification, including but not limited to its legal, organizational, commercial, or ownership status; the organization, top management, and key personnel; main policies; resources and premises; its certified Fields of Accreditation; and other such matters that may affect the laboratory's ability to fulfill the requirements of this rule.

(9) Unless the laboratory applies for reciprocal certification under subsection (4) above, the laboratory is not eligible for certification of any Fields of Accreditation available for certification through the NELAP-recognized Accreditation Body of the state where the laboratory is physically located.

Rulemaking Specific Authority 381.00591, 403.0625(3), 403.863(1), (2) FS. Law Implemented:  381.00591, 403.0625(1), (2), (3) (4), 403.851, 403.863(1), (2), (3), (4), (7), 403.8635(1), (2) FS. History:  New 8-27-86, Amended 10-10-89, 6-29-94 2-13-96, 4-25-96, Formerly 10D-41.103, Amended 4-16-00, 6-30-03, 1-24-05, ____________.

- 64E-1.104 On-Site Inspections.

- (1) Except as provided in subsection 64E-1.102(5), F.A.C., laboratories shall arrange for and submit to a comprehensive onsite inspection by DOH's authorized representatives at least once every two years and at such other times DOH deems necessary to determine continued compliance with this rule.

- The Department of Health shall inspect the premises and operations of laboratories certified or seeking certification, except as provided in subsection 64E-1.102(6), F.A.C., and Section 4.6.2 of the NELAC Standards, referenced in Rule 64E-1.0015, F.A.C.  Such inspections shall occur at least once every 2 calendar years and at such other times as the Department of Health deems necessary to determine continued compliance with this rule.

- (2) Inspections will be unannounced in those cases in which DOH the Department of Health determines this approach necessary to establish compliance. Factors such as past record, proficiency test performance, personnel and overall laboratory performance will be considered in making this determination.

- (3) The laboratory shall ensure that its Quality Manual, analytical methods, quality control data, proficiency test data, laboratory standard operating procedures, and all records needed to verify compliance with the TNI and NELAC Standards, referenced in Rule 64E-1.0015, F.A.C., and this rule are available for review during the on-site laboratory inspection.  The laboratory shall allow DOH's the department's authorized representatives personnel to examine records; observe the laboratory's facilities, procedures, and equipment; and interview staff during the on-site inspection.

- (4) Inspections will include on-site proficiency test samples when DOH the Department of Health is unable to determine compliance using more conventional methods.

- (5) The laboratory shall submit to DOH, or DOH's authorized representatives, as applicable, within 30 calendar days of receiving the written on-site inspection report, the Department of Health a Plan of Correction and estimated completion date for each deficiency noted during the on-site inspection evaluation.  Proposed corrective-action plans and completion dates must be completed on or attached to the "Statement of Deficiencies and Plan of Correction" form, DH 1137, 12/16, incorporated 3/97, adopted by reference herein, and available at http://www.floridahealth.gov/licensing-and-regulation/environmental-laboratories/environmental-laboratory-certification/_documents.

- (6) DOH or its authorized representatives The Department of Health may conduct on-site inspections of the laboratory at any time.

Rulemaking Specific Authority: 381.00591, 403.0625(3), 403.863(1), (2) FS. Law Implemented:  381.00591, 403.0625(1), (2), (3) (4), 403.851, 403.863(1), (2), (3), (4), (7), 403.8635(1), (2) FS. History:  New 8-27-86, Amended 10-10-89, 6-29-94, 4-25-96, Formerly 10D-41.105, Amended 4-16-00, ________.

- 64E-1.105 Display of Certificate and Use of Certification.

A current certification document shall be displayed at all times in a prominent place in each certified laboratory.  DH 1697, 12/16 7/04, which includes the Laboratory Scope of Accreditation and is entitled "Environmental Testing Laboratory Certificate," is incorporated adopted by reference herein.  DOH The department shall issue the Certificate to the laboratory only upon completion of the requirements of this rule.  The laboratory must also comply with Sections 6.8(a)(1), (2), (3), and (4) and 6.8(b)(1) and (2) of the NELAC Standards, June 5, 2003, referenced in Rule 64E-1.0015, F.A.C.

Rulemaking Specific Authority:  381.00591, 403.0625(3), 403.863(1), (2) FS. Law Implemented:  381.00591, 403.0625(1), (2), (3) (4), 403.863(1), (2), (3) (4), (7), 403.8635(1) FS. History:  New 8-27-86, Amended 6-29-94, 4-25-96, Formerly 10D-41.106, Amended 4-16-00, 6-30-03, 1-24-05, _________.

- 64E-1.106  Proficiency Testing Requirements.

(1) Applicant and certified laboratories shall participate in a proficiency testing program, also known as Performance Evaluation, from a TNI-accredited provider.  The list of accredited Proficiency Testing Providers and the tabular listing of analytes available for proficiency testing by matrix, delineated as NELAP Fields of Proficiency Testing, are available at http://www.nelac-institute.org a provider recognized by the Department of Health as being compliant with the procedures and criteria in Sections 2.0, 2.3, 2.6, and 2.7 and in Appendices A, B, C, D, E, F, G, and H to Chapter 2 of the NELAC Standards, referenced in Rule 64E-1.0015, F.A.C. Participation means that the laboratory will analyze and report to the provider the results of all proficiency test samples required by the approved program for which the laboratory desires and maintains certification. Laboratories certified or seeking certification for Fields of Accreditation in the Drinking Water Matrix category group must also comply with Performance Evaluation requirements in Title 40 Code of Federal Regulations sections 141.23(k)(3), 141.24(f)(17), 141.24(h)(19), 141.89(a)(1), and 141.131(b)(2), July 2016 edition, which are all incorporated herein by reference, and is also available at https://www.gpo.gov/fdsys/browse/collectionCfr.action?selectedYearFrom=2016&go=Go.

(2) Laboratories shall bear the cost of any subscription to a proficiency testing program required by DOH the Department of Health for compliance purposes.  DOH The Department of Health shall not be charged a fee for the analysis of any proficiency testing performance evaluation samples.

(3)  Unless associated with the submittal of an application form as provided in subsection 64E-1.102(1), F.A.C., the laboratory must authorize the recognized provider, on or prior to the testing round closing date, to submit the proficiency testing results to DOH the department concurrently with the submittal of these results to the laboratory.  After the closing date, no modification to any aspect of the reported results, method/technology, measurement units, or the associated report information shall be made unless it is necessary due to a documented error made by the accredited proficiency testing program provider.

(4)  All Fields of Accreditation within each Matrix category group for which a laboratory is certified or is pending certification must be satisfactorily analyzed, if available, on two of the most recent three proficiency testing rounds attempted.  Proficiency test sample results shall be considered satisfactory when they are within the acceptance limits established by the accredited recognized proficiency test sample provider. If a laboratory reports more than one result for a Field of Proficiency Testing on a proficiency testing round, any unsatisfactory result constitutes a failed testing attempt for the corresponding certified or pending Field of Accreditation.

(5) A laboratory that meets the requirements of subsection (4) of this section for a particular Field of Proficiency Testing is eligible for obtaining and maintaining certification for the corresponding Field of Accreditation.  Otherwise, certification shall be denied, suspended, or revoked for that Field of Accreditation.

(6) A laboratory shall participate in at least two testing rounds from a recognized proficiency test sample provider per calendar fiscal (July 1 - June 30) year, with no more than seven months between consecutive testing rounds in terms of closing dates for each proficiency testing attempt, for each available Field of Proficiency Testing that corresponds to a pending or certified Field of Accreditation.

(7) The laboratory shall comply with all requirements in Volume 1, Module 1 Section 2.5 of the TNI NELAC Standards, referenced in Rule 64E-1.0015, F.A.C., in analyzing proficiency test samples.  In addition Pursuant to Section 2.5.1(c) of the NELAC Standards, the laboratory shall not submit proficiency test sample results generated by another laboratory facility as its own.

(8) Proficiency test sample providers shall report laboratory results for proficiency test samples in a format approved by DOH the Florida Department of Health.

(9) In addition to the requirements in subsections (1) through (8) above, laboratories certified or seeking certification for Fields of Accreditation in the Drinking Water Matrix category group for the Microbiology category for total coliforms and/or fecal coliforms (or E. coli) must receive acceptable scores for both the total coliforms and for the fecal coliforms (or E. coli) portions of a proficiency testing round for performance on those Fields of Accreditation in that testing round to be acceptable.

- Rulemaking Specific Authority 381.00591, 403.0625(3), 403.863(1), (2) FS. Law Implemented:  381.00591, 403.0625(1), (2), (3) (4), 403.851, 403.863(1), (2), (3), (4), (7), 403.8635(1), (2) FS. History:  New 8-27-86, Amended 10-10-89, 6-29-94, 	2-13-96, 4-25-96, Formerly 10D-41.107, Amended 4-16-00, 6-30-03, 1-24-05, ____________.

64E-1.107  Renewal of Annual Certification

DOH The Department of Health will renew certifications after receipt of a renewal invoice and fee, provided the laboratory is maintaining compliance with this chapter and rule, attests to such compliance, and has reported acceptable proficiency test values for the categories certified within the previous year. Laboratories meeting renewal certification criteria will be renewed annually on July 1. The "Renewal Confirmation Attestation of Compliance,” DH 1907, 12/16, 3/98 and Environmental Testing Laboratory Renewal Invoice, DH 1906, 3/98 are both herein incorporated adopted by reference, is and are available by calling DOH's BPHL the department's Bureau of Laboratories at (904)791-1599 and is also available at http://www.floridahealth.gov/licensing-and-regulation/environmental-laboratories/environmental-laboratory-certification/_documents.

(1) The Department of Health will mail renewal notices at least 30 days prior to July 1.  Failure to receive a renewal notice from DOH does not exempt laboratories from meeting the renewal date requirement of July 1 of each year.

(2) All laboratory certifications shall expire on July 1 of each calendar year.

(3) The certification of any laboratory which fails to pay the required renewal fee and to return the completed attestation form to DOH the department by July 1 shall automatically expire without notice or further proceeding.  A laboratory whose certification has expired may reapply for certification in accordance with subsection 64E-1.102(1), F.A.C.

Rulemaking Specific Authority 381.00591, 403.0625(3), 403.863(1), (2) FS. Law Implemented:  381.00591, 403.0625(1), (2), (3) (4), 403.851, 403.863(1), (2), (3), (4), (7), 403.8635(1), (2) (3) FS. History:  New 8-27-86, Amended 6-29-94, 4-25-96, Formerly 10D-41.108, Amended 4-16-00, _________.