- 69A-67.007 Requirements for Class 3 Farm Buildings.

A structure that is classified by the AHJ as a Class 3 structure shall meet all the applicable requirements of the current edition of the Florida Fire Prevention Code, as adopted in rule chapter 69A-60, F.A.C.

Rulemaking Authority 633.104, 633.202 FS. Law Implemented 633.202 FS. History–New 4-25-17.