- 62-304.415 Lower St. Johns River Basin TMDLs.

Lower St. Johns River.

(1) The Total Maximum Daily Load for the freshwater segments of the Lower St. Johns River, which is that portion of the river from Buffalo Bluff to Black Creek, is 500,325 kilograms per year (kg/y) of Total Phosphorus (TP) and 8,571,563 kg/y of Total Nitrogen (TN), and is allocated as follows:

(a) The Wasteload Allocation for point sources discharging to the freshwater portion of the river is 46,357 kg/y of TP and 236,695 kg/y of TN;

(b) The Load Allocation for nonpoint sources is 453,968 kg/y of TP and 8,334,868 kg/y of TN; and,

(c) The Margin of Safety is implicit.

(2) The Total Maximum Daily Load for the marine segments of the Lower St. Johns River, which is that portion of the river from Black Creek to the mouth, is 1,376,855 kilograms per year (kg/y) of Total Nitrogen (TN), and is allocated as follows:

(a) The Wasteload Allocation for point sources discharging to the marine portion of the river is 1,027,590 kg/y of TN;

(b) The Load Allocation for nonpoint sources discharging to the marine portion of the river is 349,265 kg/y of TN; and,

(c) The Margin of Safety is implicit.

(3) Durbin Creek. The Total Maximum Daily Load for Durbin Creek is 400 counts/100 mL for fecal coliform, and is allocated as follows:

(a) The Wasteload Allocation for discharges subject to the Department’s National Pollutant Discharge Elimination System Municipal Stormwater Permitting Program is a 63 percent reduction of current anthropogenic fecal coliform loading;

(b) The Load Allocation for nonpoint sources is a 63 percent reduction of current fecal coliform loading; and,

(c) The Margin of Safety is implicit.

(4) Goodbys Creek. The Total Maximum Daily Load for Goodbys Creek is 400 counts/100 mL for fecal coliform, and is allocated as follows:

(a) The Wasteload Allocation for discharges subject to the Department’s National Pollutant Discharge Elimination System Municipal Stormwater Permitting Program is an 87 percent reduction of current anthropogenic fecal coliform loading;

(b) The Load Allocation for nonpoint sources is an 87 percent reduction of current fecal coliform loading; and,

(c) The Margin of Safety is implicit.

(5) Hogan Creek. The Total Maximum Daily Load for Hogan Creek is 400 counts/100 mL for fecal coliform, and is allocated as follows:

(a) The Wasteload Allocation for discharges subject to the Department’s National Pollutant Discharge Elimination System Municipal Stormwater Permitting Program is a 92 percent reduction of current anthropogenic fecal coliform loading;

(b) The Load Allocation for nonpoint sources is a 92 percent reduction of current fecal coliform loading; and,

(c) The Margin of Safety is implicit.

(6) Miramar Creek. The Total Maximum Daily Load for Miramar Creek is 400 counts/100 mL for fecal coliform, and is allocated as follows:

(a) The Wasteload Allocation for discharges subject to the Department’s National Pollutant Discharge Elimination System Municipal Stormwater Permitting Program is a 92 percent reduction of current anthropogenic fecal coliform loading;

(b) The Load Allocation for nonpoint sources is a 92 percent reduction of current fecal coliform loading; and,

(c) The Margin of Safety is implicit.

(7) Butcher Pen Creek. The Total Maximum Daily Load for Butcher Pen Creek is 400 counts/100 mL for fecal coliform, and is allocated as follows:

(a) The Wasteload Allocation for wastewater discharges subject to the Department’s National Pollutant Discharge Elimination System Municipal Stormwater Permitting Program is to meet the applicable water quality criteria for fecal coliforms;

(b) The Wasteload Allocation for discharges subject to the Department’s National Pollutant Discharge Elimination System Municipal Stormwater Permitting Program is an 83 percent reduction of current anthropogenic fecal coliform loading;

(c) The Load Allocation for nonpoint sources is an 83 percent reduction of current fecal coliform loading; and,

(d) The Margin of Safety is implicit.

(8) Cedar River. The Total Maximum Daily Load for the Cedar River is 400 counts/100 mL for fecal coliform and 2,400 counts/100 mL for total coliform, and is allocated as follows:

(a) The Wasteload Allocation for discharges subject to the Department’s National Pollutant Discharge Elimination System Municipal Stormwater Permitting Program is an 83 percent reduction of current anthropogenic fecal coliform loading and an 81 percent reduction of current anthropogenic total coliform loading;

(b) The Load Allocation for nonpoint sources is an 83 percent reduction of current fecal coliform loading and an 81 percent reduction of total coliform loading; and,

(c) The Margin of Safety is implicit.

(9) Williamson Creek. The Total Maximum Daily Load for Williamson Creek is 400 counts/100 mL for fecal coliform and 2,400 counts/100 mL for total coliform, and is allocated as follows:

(a) The Wasteload Allocation for discharges subject to the Department’s National Pollutant Discharge Elimination System Municipal Stormwater Permitting Program is an 83 percent reduction of current anthropogenic fecal coliform loading and a 66 percent reduction of current anthropogenic total coliform loading;

(b) The Load Allocation for nonpoint sources is an 83 percent reduction of current fecal coliform loading and a 66 percent reduction of total coliform loading; and,

(c) The Margin of Safety is implicit.

(10) Wills Branch. The Total Maximum Daily Load for Wills Branch is 400 counts/100 mL for fecal coliform and 2,400 counts/100 mL for total coliform, and is allocated as follows:

(a) The Wasteload Allocation for discharges subject to the Department’s National Pollutant Discharge Elimination System Municipal Stormwater Permitting Program is an 80 percent reduction of current anthropogenic fecal coliform loading and an 81 percent reduction of current anthropogenic total coliform loading;

(b) The Load Allocation for nonpoint sources is an 80 percent reduction of current fecal coliform loading and an 81 percent reduction of total coliform loading; and,

(c) The Margin of Safety is implicit.

(11) Moncrief Creek. The Total Maximum Daily Load for Moncrief Creek is 400 counts/100 mL for fecal coliform and 2,400 counts/100 mL for total coliform, and is allocated as follows:

(a) The Wasteload Allocation for discharges subject to the Department’s National Pollutant Discharge Elimination System Municipal Stormwater Permitting Program is an 83 percent reduction of current anthropogenic fecal coliform loading and a 98 percent reduction of current anthropogenic total coliform loading;

(b) The Load Allocation for nonpoint sources is an 83 percent reduction of current fecal coliform loading and a 98 percent reduction of total coliform loading; and,

(c) The Margin of Safety is implicit.

(12) Ribault River. The Total Maximum Daily Load for the Ribault River is 400 counts/100 mL for fecal coliform, and is allocated as follows:

(a) The Wasteload Allocation for wastewater discharges subject to the Department’s National Pollutant Discharge Elimination System Permitting Program is to meet the applicable water quality criteria for fecal coliforms;

(b) The Wasteload Allocation for discharges subject to the Department’s National Pollutant Discharge Elimination System Municipal Stormwater Permitting Program is a 50 percent reduction of current anthropogenic fecal coliform loading;

(c) The Load Allocation for nonpoint sources is a 50 percent reduction of current fecal coliform loading; and,

(d) The Margin of Safety is implicit.

(13) Big Davis Creek. The Total Maximum Daily Load (TMDL) for Big Davis Creek is 400 counts/100mL for fecal coliform, and is allocated as follows:

(a) The Wasteload Allocation (WLA) for discharges subject to the Department’s National Pollutant Discharge Elimination System (NPDES) Municipal Stormwater Permitting Program is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 1995 to 2007 period, will require a 69 percent reduction of sources contributing to exceedances of the criteria;

(b) The Load Allocation (LA) for nonpoint sources is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 1995 to 2007 period, will require a 69 percent reduction of sources contributing to exceedances of the criteria;

(c) The Margin of Safety is implicit; and,

(d) While the LA and WLA for fecal coliform have been expressed as the percent reductions needed to attain the applicable Class III criteria, it is the combined reductions from both anthropogenic point and nonpoint sources that will result in the required reduction of in-stream fecal concentration. However, it is not the intent of the TMDL to abate natural background conditions.

(14) Big Fishweir Creek. The TMDL for Big Fishweir Creek is 400 counts/100mL for fecal coliform, and is allocated as follows:

(a) The WLA for discharges subject to the Department’s NPDES Municipal Stormwater Permitting Program is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 1996 to 2008 period, will require a 87 percent reduction of sources contributing to exceedances of the criteria;

(b) The LA for nonpoint sources is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 1996 to 2008 period, will require a 87 percent reduction of sources contributing to exceedances of the criteria;

(c) The Margin of Safety is implicit; and,

(d) While the LA and WLA for fecal coliform have been expressed as the percent reductions needed to attain the applicable Class III criteria, it is the combined reductions from both anthropogenic point and nonpoint sources that will result in the required reduction of in-stream fecal concentration. However, it is not the intent of the TMDL to abate natural background conditions.

(15) Block House Creek. The TMDL for Block House Creek is 400 counts/100mL for fecal coliform, and is allocated as follows:

(a) The WLA for discharges subject to the Department’s NPDES Municipal Stormwater Permitting Program is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 1991 to 2006 period, will require a 82 percent reduction of sources contributing to exceedances of the criteria;

(b) The LA for nonpoint sources is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 1991 to 2006 period, will require a 82 percent reduction of sources contributing to exceedances of the criteria;

(c) The Margin of Safety is implicit; and,

(d) While the LA and WLA for fecal coliform have been expressed as the percent reductions needed to attain the applicable Class III criteria, it is the combined reductions from both anthropogenic point and nonpoint sources that will result in the required reduction of in-stream fecal concentration. However, it is not the intent of the TMDL to abate natural background conditions.

(16) Deep Bottom Creek. The TMDL for Deep Bottom Creek is 400 counts/100mL for fecal coliform, and is allocated as follows:

(a) The WLA for discharges subject to the Department’s NPDES Municipal Stormwater Permitting Program is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 1999 to 2007 period, will require a 82 percent reduction of sources contributing to exceedances of the criteria;

(b) The LA for nonpoint sources is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 1999 to 2007 period, will require a 82 percent reduction of sources contributing to exceedances of the criteria;

(c) The Margin of Safety is implicit; and,

(d) While the LA and WLA for fecal coliform have been expressed as the percent reductions needed to attain the applicable Class III criteria, it is the combined reductions from both anthropogenic point and nonpoint sources that will result in the required reduction of in-stream fecal concentration. However, it is not the intent of the TMDL to abate natural background conditions.

(17) Deer Creek. The TMDL for Deer Creek is 400 counts/100mL for fecal coliform, and is allocated as follows:

(a) The WLA for discharges subject to the Department’s NPDES Municipal Stormwater Permitting Program is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 1995 to 2007 period, will require a 86 percent reduction of sources contributing to exceedances of the criteria;

(b) The LA for nonpoint sources is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 1995 to 2007 period, will require a 86 percent reduction of sources contributing to exceedances of the criteria;

(c) The Margin of Safety is implicit; and,

(d) While the LA and WLA for fecal coliform have been expressed as the percent reductions needed to attain the applicable Class III criteria, it is the combined reductions from both anthropogenic point and nonpoint sources that will result in the required reduction of in-stream fecal concentration. However, it is not the intent of the TMDL to abate natural background conditions.

(18) McCoy Creek. The TMDL for McCoy Creek is 400 counts/100mL for fecal coliform, and is allocated as follows:

(a) The WLA for discharges subject to the Department’s NPDES Municipal Stormwater Permitting Program is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 1995 to 2007 period, will require a 84 percent reduction of sources contributing to exceedances of the criteria;

(b) The LA for nonpoint sources is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 1995 to 2007 period, will require a 84 percent reduction of sources contributing to exceedances of the criteria;

(c) The Margin of Safety is implicit; and,

(d) While the LA and WLA for fecal coliform have been expressed as the percent reductions needed to attain the applicable Class III criteria, it is the combined reductions from both anthropogenic point and nonpoint sources that will result in the required reduction of in-stream fecal concentration. However, it is not the intent of the TMDL to abate natural background conditions.

(19) Miller Creek. The TMDL for Miller Creek is 400 counts/100mL for fecal coliform, and is allocated as follows:

(a) The WLA for discharges subject to the Department’s NPDES Municipal Stormwater Permitting Program is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 1991 to 2007 period, will require a 92 percent reduction of sources contributing to exceedances of the criteria;

(b) The LA for nonpoint sources is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 1991 to 2007 period, will require a 92 percent reduction of sources contributing to exceedances of the criteria;

(c) The Margin of Safety is implicit; and,

(d) While the LA and WLA for fecal coliform have been expressed as the percent reductions needed to attain the applicable Class III criteria, it is the combined reductions from both anthropogenic point and nonpoint sources that will result in the required reduction of in-stream fecal concentration. However, it is not the intent of the TMDL to abate natural background conditions.

(20) New Castle Creek. The TMDL for New Castle Creek is 400 counts/100mL for fecal coliform, and is allocated as follows:

(a) The WLA for discharges subject to the Department’s NPDES Municipal Stormwater Permitting Program is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 1991 to 2006 period, will require a 84 percent reduction of sources contributing to exceedances of the criteria;

(b) The LA for nonpoint sources is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 1991 to 2006 period, will require a 84 percent reduction of sources contributing to exceedances of the criteria;

(c) The Margin of Safety is implicit; and,

(d) While the LA and WLA for fecal coliform have been expressed as the percent reductions needed to attain the applicable Class III criteria, it is the combined reductions from both anthropogenic point and nonpoint sources that will result in the required reduction of in-stream fecal concentration. However, it is not the intent of the TMDL to abate natural background conditions.

(21) Open Creek. The TMDL for Open Creek is 400 counts/100mL for fecal coliform, and is allocated as follows:

(a) The WLA for discharges subject to the Department’s NPDES Municipal Stormwater Permitting Program is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 1996 to 2007 period, will require a 60 percent reduction of sources contributing to exceedances of the criteria;

(b) The LA for nonpoint sources is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 1996 to 2007 period, will require a 60 percent reduction of sources contributing to exceedances of the criteria;

(c) The Margin of Safety is implicit; and,

(d) While the LA and WLA for fecal coliform have been expressed as the percent reductions needed to attain the applicable Class III criteria, it is the combined reductions from both anthropogenic point and nonpoint sources that will result in the required reduction of in-stream fecal concentration. However, it is not the intent of the TMDL to abate natural background conditions.

(22) Sherman Creek. The TMDL for Sherman Creek is 400 counts/100mL for fecal coliform, and is allocated as follows:

(a) The WLA for discharges subject to the Department’s NPDES Municipal Stormwater Permitting Program is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 1996 to 2008 period, will require a 71 percent reduction of sources contributing to exceedances of the criteria;

(b) The LA for nonpoint sources is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 1996 to 2008 period, will require a 71 percent reduction of sources contributing to exceedances of the criteria;

(c) The Margin of Safety is implicit; and,

(d) While the LA and WLA for fecal coliform have been expressed as the percent reductions needed to attain the applicable Class III criteria, it is the combined reductions from both anthropogenic point and nonpoint sources that will result in the required reduction of in-stream fecal concentration. However, it is not the intent of the TMDL to abate natural background conditions.

(23) Terrapin Creek. The TMDL for Terrapin Creek is 400 counts/100mL for fecal coliform, and is allocated as follows:

(a) The WLA for discharges subject to the Department’s NPDES Municipal Stormwater Permitting Program is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 1995 to 2007 period, will require a 71 percent reduction of sources contributing to exceedances of the criteria;

(b) The LA for nonpoint sources is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 1995 to 2007 period, will require a 71 percent reduction of sources contributing to exceedances of the criteria;

(c) The Margin of Safety is implicit; and,

(d) While the LA and WLA for fecal coliform have been expressed as the percent reductions needed to attain the applicable Class III criteria, it is the combined reductions from both anthropogenic point and nonpoint sources that will result in the required reduction of in-stream fecal concentration. However, it is not the intent of the TMDL to abate natural background conditions.

(24) Trout River, freshwater segment. The TMDL for the freshwater segment of Trout River is 400 counts/100mL for fecal coliform, and is allocated as follows:

(a) The WLA for discharges subject to the Department’s NPDES Municipal Stormwater Permitting Program is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 1996 to 2007 period, will require a 66 percent reduction of sources contributing to exceedances of the criteria;

(b) The LA for nonpoint sources is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 1996 to 2007 period, will require a 66 percent reduction of sources contributing to exceedances of the criteria;

(c) The Margin of Safety is implicit; and,

(d) While the LA and WLA for fecal coliform have been expressed as the percent reductions needed to attain the applicable Class III criteria, it is the combined reductions from both anthropogenic point and nonpoint sources that will result in the required reduction of in-stream fecal concentration. However, it is not the intent of the TMDL to abate natural background conditions.

(25) Trout River, marine segment. The TMDL for the marine segment of Trout River is 400 counts/100mL for fecal coliform, and is allocated as follows:

(a) The WLA for discharges subject to the Department’s NPDES Municipal Stormwater Permitting Program is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 1996 to 2007 period, will require a 60 percent reduction of sources contributing to exceedances of the criteria;

(b) The LA for nonpoint sources is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 1996 to 2007 period, will require a 60 percent reduction of sources contributing to exceedances of the criteria;

(c) The Margin of Safety is implicit; and,

(d) While the LA and WLA for fecal coliform have been expressed as the percent reductions needed to attain the applicable Class III criteria, it is the combined reductions from both anthropogenic point and nonpoint sources that will result in the required reduction of in-stream fecal concentration. However, it is not the intent of the TMDL to abate natural background conditions.

(26) Arlington River. The TMDL for Arlington River is a 30 percent reduction in total nitrogen (TN) to address a nutrient impairment, and is allocated as follows:

(a) The WLA for wastewater sources is not applicable;

(b) The WLA for discharges subject to the Department’s NPDES Municipal Stormwater Permitting Program is to address anthropogenic sources in the basin such that in-stream concentrations meet the TN target which, based on the measured concentrations from the 1973 to 2008 period, will require a 30 percent reduction of TN for sources contributing to the nutrient impairment;

(c) The LA for nonpoint sources is to address anthropogenic sources in the basin such that in-stream concentrations meet the TN target which, based on the measured concentrations from the 1973 to 2008 period, will require a 30 percent reduction of TN for sources contributing to the nutrient impairment;

(d) The Margin of Safety is implicit;

(e) While the LA and WLA for TN have been expressed as the percent reductions needed to attain the applicable Class III nutrient criteria, it is the combined reductions from both anthropogenic point and nonpoint sources that will result in the required reduction of in-stream TN concentration. However, it is not the intent of the TMDL to abate natural background conditions; and,

(f) The percent reduction for TN identified in this TMDL is established to be consistent with the TMDLs for TN identified in subsections (1) and (2), of this rule. The required reductions are not additive to the extent they are protective of this waterbody and the mainstem of the Lower St. John’s River.

(27) Black Creek. The TMDL for Black Creek is a lead concentration of 0.545 ug/L and is allocated as follows:

(a) The WLA for wastewater facilities discharging lead is that they shall not exceed the lead criterion;

(b) The WLA for discharges subject to the Department’s NPDES Municipal Stormwater Permitting Program is to address anthropogenic sources in the basin such that in-stream concentrations meet the lead criterion which, based on the measured concentrations from the 2001 to 2008 period, will require a 73.2 percent reduction from sources contributing to exceedances of the lead criterion;

(c) The LA for nonpoint sources is to address anthropogenic sources in the basin such that in-stream concentrations meet the lead criterion which, based on the measured concentrations from the 2001 to 2008 period, will require a 73.2 percent reduction from sources contributing to exceedances of the lead criterion;

(d) The Margin of Safety is implicit; and,

(e) While the LA and WLA for lead has been expressed as the percent reduction needed to attain the applicable Class III lead criterion, it is the combined reductions from both anthropogenic point and nonpoint sources that will result in the required reduction of in-stream lead concentration. However, it is not the intent of the TMDL to abate natural background conditions.

(28) Black Creek – South Fork. The TMDL for the Black Creek – South Fork is a lead concentration of 0.545 ug/L and is allocated as follows:

(a) The WLA for wastewater sources discharging lead is that they shall not exceed the lead criterion;

(b) The WLA for discharges subject to the Department’s NPDES Municipal Stormwater Permitting Program is to address anthropogenic sources in the basin such that in-stream concentrations meet the lead criterion which, based on the measured concentrations from the 2001 to 2008 period, will require a 76.8 percent reduction from sources contributing to exceedances of the lead criterion;

(c) The LA for nonpoint sources is to address anthropogenic sources in the basin such that in-stream concentrations meet the lead criterion which, based on the measured concentrations from the 2001 to 2008 period, will require a 76.8 percent reduction from sources contributing to exceedances of the lead criterion;

(d) The Margin of Safety is implicit; and,

(e) While the LA and WLA for lead has been expressed as the percent reduction needed to attain the applicable Class III lead criterion, it is the combined reductions from both anthropogenic point and nonpoint sources that will result in the required reduction of in-stream lead concentration. However, it is not the intent of the TMDL to abate natural background conditions.

(29) Doctors Lake. The TMDL for Doctors Lake is a 50 percent reduction in TN to address the nutrient impairment, and is allocated as follows:

(a) The WLA for wastewater sources is not applicable;

(b) The WLA for discharges subject to the Department’s NPDES Municipal Stormwater Permitting Program is to address anthropogenic sources in the basin such that in-stream concentrations meet the TN which, based on the measured concentrations from the 1971 to 2008 period, will require a 50 percent reduction of TN for sources contributing to exceedances of the nutrient criteria;

(c) The LA for nonpoint sources is to address anthropogenic sources in the basin such that in-stream concentrations meet the TN target which, based on the measured concentrations from the 1971 to 2008 period, will require a 50 percent reduction of TN for sources contributing to exceedances of the nutrient criteria;

(d) The Margin of Safety is implicit;

(e) While the LA and WLA for TN have been expressed as the percent reductions needed to attain the applicable Class III nutrient criteria, it is the combined reductions from both anthropogenic point and nonpoint sources that will result in the required reduction of in-stream TN concentration. However, it is not the intent of the TMDL to abate natural background conditions; and,

(f) The percent reduction for TN identified in this TMDL is established to be consistent with the TMDLs for TN identified in subsections (1) and (2), of this rule. The required reductions are not additive to the extent they are protective of this waterbody and the mainstem of the Lower St. John’s River.

(30) Dog Branch. The TMDLs for Dog Branch are a 30 percent reduction in TN and a 30 percent reduction in total phosphorus (TP) to address low Dissolved Oxygen (DO) and nutrient impairments, and are allocated as follows:

(a) The WLA for wastewater sources is not applicable;

(b) The WLA for discharges subject to the Department’s NPDES Municipal Stormwater Permitting Program is to address anthropogenic sources in the basin such that in-stream concentrations meet the TN and TP targets which, based on the measured concentrations from the 1985 to 2008 period, will require a 30 percent reduction in TN and a 30 percent reduction in TP from sources contributing to exceedances of the DO and nutrient criteria;

(c) The LAs for nonpoint sources are to address anthropogenic sources in the basin such that in-stream concentrations meet the TN and TP targets which, based on the measured concentrations from the 1985 to 2008 period, will require a 30 percent reduction of TN and a 30 percent reduction of TP from sources contributing to exceedances of the DO and nutrient criteria;

(d) The Margin of Safety is implicit;

(e) While the LA and WLA for TN and TP have been expressed as the percent reductions needed to attain the applicable Class III DO and nutrient criteria, it is the combined reductions from both anthropogenic point and nonpoint sources that will result in the required reduction of in-stream TN and TP concentration. However, it is not the intent of the TMDL to abate natural background conditions; and,

(f) The percent reductions for TN and TP identified in this TMDL are established to be consistent with the TMDLs for TN and TP identified in subsections (1) and (2), as applicable, of this rule. The required reductions are not additive to the extent they are protective of this waterbody and the mainstem of the Lower St. John’s River.

(31) Greene Creek. The TMDL for Greene Creek is 400 counts/100mL for fecal coliform, and is allocated as follows:

(a) The WLA for wastewater sources is not applicable;

(b) The WLA for discharges subject to the Department’s NPDES Municipal Stormwater Permitting Program is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 2002 to 2008 period, will require a 45 percent reduction of sources contributing to exceedances of the criteria;

(c) The LA for nonpoint sources is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 2002 to 2008 period, will require a 45 percent reduction of sources contributing to exceedances of the criteria;

(d) The Margin of Safety is implicit; and,

(e) While the LA and WLA for fecal coliform has been expressed as the percent reductions needed to attain the applicable Class III criteria, it is the combined reductions from both anthropogenic point and nonpoint sources that will result in the required reduction of in-stream fecal concentration. However, it is not the intent of the TMDL to abate natural background conditions.

(32) Grog Branch. The TMDL for Grog Branch is 400 counts/100mL for fecal coliform, and is allocated as follows:

(a) The WLA for wastewater sources is not applicable;

(b) The WLA for discharges subject to the Department’s NPDES Municipal Stormwater Permitting Program is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 2001 to 2008 period, will require a 59 percent reduction of sources contributing to exceedances of the criteria;

(c) The LA for nonpoint sources is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 2001 to 2008 period, will require a 59 percent reduction of sources contributing to exceedances of the criteria;

(d) The Margin of Safety is implicit; and,

(e) While the LA and WLA for fecal coliform have been expressed as the percent reductions needed to attain the applicable Class III criteria, it is the combined reductions from both anthropogenic point and nonpoint sources that will result in the required reduction of in-stream fecal concentration. However, it is not the intent of the TMDL to abate natural background conditions.

(33) Julington Creek. The TMDL for Julington Creek is 400 counts/100mL for fecal coliform, and is allocated as follows:

(a) The WLA for wastewater sources is not applicable;

(b) The WLA for discharges subject to the Department’s NPDES Municipal Stormwater Permitting Program is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 2001 to 2008 period, will require a 59 percent reduction of sources contributing to exceedances of the criteria;

(c) The LA for nonpoint sources is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 2001 to 2008 period, will require a 59 percent reduction of sources contributing to exceedances of the criteria;

(d) The Margin of Safety is implicit; and,

(e) While the LA and WLA for fecal coliform have been expressed as the percent reductions needed to attain the applicable Class III criteria, it is the combined reductions from both anthropogenic point and nonpoint sources that will result in the required reduction of in-stream fecal concentration. However, it is not the intent of the TMDL to abate natural background conditions.

(34) Little Black Creek. The TMDL for Little Black Creek is 400 counts/100mL for fecal coliform, and is allocated as follows:

(a) The WLA for the Ridaught Landing Wastewater Treatment Facility is that it must meet its NPDES permit conditions;

(b) The WLA for discharges subject to the Department’s NPDES Municipal Stormwater Permitting Program is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 2001 to 2008 period, will require a 27 percent reduction of sources contributing to exceedances of the criteria;

(c) The LA for nonpoint sources is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 2001 to 2008 period, will require a 27 percent reduction of sources contributing to exceedances of the criteria;

(d) The Margin of Safety is implicit; and,

(e) While the LA and WLA for fecal coliform have been expressed as the percent reductions needed to attain the applicable Class III criteria, it is the combined reductions from both anthropogenic point and nonpoint sources that will result in the required reduction of in-stream fecal concentration. However, it is not the intent of the TMDL to abate natural background conditions.

(35) Middle Trout River. The TMDLs for Middle Trout River are a 30 percent reduction in TN and a 70 percent reduction in TP to address the DO and nutrient impairments, and are allocated as follows:

(a) The WLA for wastewater sources is not applicable;

(b) The WLA for discharges subject to the Department’s NPDES Municipal Stormwater Permitting Program is to address anthropogenic sources in the basin such that in-stream concentrations meet the TN and TP targets which, based on the measured concentrations from the 1967 to 2008 period, will require a 30 percent reduction of TN and a 70 percent reduction of TP from sources contributing to exceedances of the DO and nutrient criteria;

(c) The LAs for nonpoint sources are to address anthropogenic sources in the basin such that in-stream concentrations meet the TN and TP targets which, based on the measured concentrations from the 1967 to 2008 period, will require a 30 percent reduction of TN and a 70 percent reduction of TP from sources contributing to exceedances of the DO and nutrient criteria;

(d) The Margin of Safety is implicit;

(e) While the LA and WLA for TN and TP have been expressed as the percent reductions needed to attain the applicable Class III DO and nutrient criteria, it is the combined reductions from both anthropogenic point and nonpoint sources that will result in the required reduction of in-stream TN and TP concentrations. However, it is not the intent of the TMDL to abate natural background conditions; and,

(f) The percent reduction for TN identified in this TMDL is established to be consistent with the TMDLs for TN identified in subsections (1) and (2), of this rule. The required reductions are not additive to the extent they are protective of this waterbody and the mainstem of the Lower St. John’s River.

(36) Mill Creek. The TMDL for Mill Creek is 400 counts/100mL for fecal coliform, and is allocated as follows:

(a) The WLA for wastewater sources is not applicable;

(b) The WLA for discharges subject to the Department’s NPDES Municipal Stormwater Permitting Program is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 2002 to 2008 period, will require a 72 percent reduction of sources contributing to exceedances of the criteria;

(c) The LA for nonpoint sources is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 2002 to 2008 period, will require a 72 percent reduction of sources contributing to exceedances of the criteria;

(d) The Margin of Safety is implicit; and,

(e) While the LA and WLA for fecal coliform have been expressed as the percent reductions needed to attain the applicable Class III criteria, it is the combined reductions from both anthropogenic point and nonpoint sources that will result in the required reduction of in-stream fecal concentration. However, it is not the intent of the TMDL to abate natural background conditions.

(37) Mill Creek. The TMDLs for Mill Creek are a 30 percent reduction in TN and a 30 percent reduction in TP to address the DO and nutrient impairments, and are allocated as follows:

(a) The WLA for wastewater sources is not applicable;

(b) The WLA for discharges subject to the Department’s NPDES Municipal Stormwater Permitting Program is to address anthropogenic sources in the basin such that in-stream concentrations meet the TN and TP targets which, based on the measured concentrations from the 1992 to 2008 period, will require a 30 percent reduction of TN and a 30 percent reduction of TP from sources contributing to exceedances of the DO and nutrient criteria;

(c) The LA for nonpoint sources is to address anthropogenic sources in the basin such that in-stream concentrations meet the TN and TP targets which, based on the measured concentrations from the 1992 to 2008 period, will require a 30 percent reduction of TN and a 30 percent reduction of TP from sources contributing to exceedances of the DO and nutrient criteria;

(d) The Margin of Safety is implicit;

(e) While the LA and WLA for TN and TP have been expressed as the percent reductions needed to attain the applicable Class III DO and nutrient criteria, it is the combined reductions from both anthropogenic point and nonpoint sources that will result in the required reduction of in-stream TN and TP concentrations. However, it is not the intent of the TMDL to abate natural background conditions; and,

(f) The percent reductions for TN and TP identified in this TMDL are established to be consistent with the TMDLs for TN and TP identified in subsections (1) and (2), as applicable, of this rule. The required reductions are not additive to the extent they are protective of this waterbody and the mainstem of the Lower St. John’s River.

(38) Ortega River. The TMDL for Ortega River is 400 counts/100mL for fecal coliform, and is allocated as follows:

(a) The WLA for wastewater sources is not applicable;

(b) The WLA for discharges subject to the Department’s NPDES Municipal Stormwater Permitting Program is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 2001 to 2008 period, will require a 72 percent reduction of sources contributing to exceedances of the criteria;

(c) The LA for nonpoint sources is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 2001 to 2008 period, will require a 72 percent reduction of sources contributing to exceedances of the criteria;

(d) The Margin of Safety is implicit; and,

(e) While the LA and WLA for fecal coliform have been expressed as the percent reductions needed to attain the applicable Class III criteria, it is the combined reductions from both anthropogenic point and nonpoint sources that will result in the required reduction of in-stream fecal concentration. However, it is not the intent of the TMDL to abate natural background conditions.

(39) Ortega River. The TMDL for Ortega River is a 30 percent reduction in TN to address the DO and nutrient impairments, and is allocated as follows:

(a) The WLA for wastewater sources is not applicable;

(b) The WLA for discharges subject to the Department’s NPDES Municipal Stormwater Permitting Program is to address anthropogenic sources in the basin such that in-stream concentrations meet the TN target which, based on the measured concentrations from the 1967 to 2008 period, will require a 30 percent reduction of TN from sources contributing to exceedances of the DO and nutrient criteria;

(c) The LA for nonpoint sources is to address anthropogenic sources in the basin such that in-stream concentrations meet the TN target which, based on the measured concentrations from the 1967 to 2008 period, will require a 30 percent reduction of TN from sources contributing to exceedances of the DO and nutrient criteria;

(d) The Margin of Safety is implicit;

(e) While the LA and WLA for TN have been expressed as the percent reductions needed to attain the applicable Class III DO and nutrient criteria, it is the combined reductions from both anthropogenic point and nonpoint sources that will result in the required reduction of in-stream TN concentration. However, it is not the intent of the TMDL to abate natural background conditions; and,

(f) The percent reduction for TN identified in this TMDL is established to be consistent with the TMDLs for TN identified in subsections (1) and (2), of this rule. The required reductions are not additive to the extent they are protective of this waterbody and the mainstem of the Lower St. John’s River.

(40) Peters Creek. The TMDL for Peters Creek is 400 counts/100mL for fecal coliform, and is allocated as follows:

(a) The WLA for wastewater sources is not applicable;

(b) The WLA for discharges subject to the Department’s NPDES Municipal Stormwater Permitting Program is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 2004 to 2007 period, will require a 41 percent reduction of sources contributing to exceedances of the criteria;

(c) The LA for nonpoint sources is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 2004 to 2007 period, will require a 41 percent reduction of sources contributing to exceedances of the criteria;

(d) The Margin of Safety is implicit; and,

(e) While the LA and WLA for fecal coliform have been expressed as the percent reductions needed to attain the applicable Class III criteria, it is the combined reductions from both anthropogenic point and nonpoint sources that will result in the required reduction of in-stream fecal concentration. However, it is not the intent of the TMDL to abate natural background conditions.

(41) Peters Creek. The TMDL for Peters Creek is a lead concentration of 0.545 ug/L and is allocated as follows:

(a) The WLA for wastewater sources discharging lead is that they shall not exceed the lead criterion;

(b) The WLA for discharges subject to the Department’s NPDES Municipal Stormwater Permitting Program is to address anthropogenic sources in the basin such that in-stream concentrations meet the lead criterion which, based on the measured concentrations from the 2001 to 2008 period, will require a 80 percent reduction from sources contributing to exceedances of the lead criterion;

(c) The LA for nonpoint sources is to address anthropogenic sources in the basin such that in-stream concentrations meet the lead criterion which, based on the measured concentrations from the 2001 to 2008 period, will require a 80 percent reduction from sources contributing to exceedances of the lead criterion;

(d) The Margin of Safety is implicit; and,

(e) While the LA and WLA for lead has been expressed as the percent reduction needed to attain the applicable Class III lead criterion, it is the combined reductions from both anthropogenic point and nonpoint sources that will result in the required reduction of in-stream lead concentration. However, it is not the intent of the TMDL to abate natural background conditions.

(42) Pottsburg Creek. The TMDL for Pottsburg Creek is 400 counts/100mL for fecal coliform, and is allocated as follows:

(a) The WLA for wastewater sources is not applicable;

(b) The WLA for discharges subject to the Department’s NPDES Municipal Stormwater Permitting Program is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 2001 to 2007 period, will require a 50 percent reduction of sources contributing to exceedances of the criteria;

(c) The LA for nonpoint sources is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 2001 to 2007 period, will require a 50 percent reduction of sources contributing to exceedances of the criteria;

(d) The Margin of Safety is implicit; and,

(e) While the LA and WLA for fecal coliform have been expressed as the percent reductions needed to attain the applicable Class III criteria, it is the combined reductions from both anthropogenic point and nonpoint sources that will result in the required reduction of in-stream fecal concentration. However, it is not the intent of the TMDL to abate natural background conditions.

(43) Sixteen Mile Creek. The TMDLs for Sixteen Mile Creek are a 30 percent reduction in TN and a 30 percent reduction in TP to address the DO impairment, and are allocated as follows:

(a) The WLA for wastewater sources is not applicable;

(b) The WLA for discharges subject to the Department’s NPDES Municipal Stormwater Permitting Program is to address anthropogenic sources in the basin such that in-stream concentrations meet the total nitrogen and total phosphorus targets which, based on the measured concentrations from the 1987 to 2008 period, will require a 30 percent reduction of TN and a 30 percent reduction of TP from sources contributing to exceedances of the DO criteria;

(c) The LAs for nonpoint sources are to address anthropogenic sources in the basin such that in-stream concentrations meet the TN and TP targets which, based on the measured concentrations from the 1987 to 2008 period, will require a 30 percent reduction of TN and a 30 percent reduction of TP from sources contributing to exceedances of the DO criteria;

(d) The Margin of Safety is implicit;

(e) While the LA and WLA for TN and TP have been expressed as the percent reductions needed to attain the applicable Class III DO criteria, it is the combined reductions from both anthropogenic point and nonpoint sources that will result in the required reduction of in-stream TN and TP concentrations. However, it is not the intent of the TMDL to abate natural background conditions; and,

(f) The percent reductions for TN and TP identified in this TMDL are established to be consistent with the TMDLs for TN and TP identified in subsections (1) and (2), as applicable, of this rule. The required reductions are not additive to the extent they are protective of this waterbody and the mainstem of the Lower St. John’s River.

(44) Strawberry Creek. The TMDL for Strawberry Creek is 400 counts/100mL for fecal coliform, and is allocated as follows:

(a) The WLA for wastewater sources is not applicable;

(b) The WLA for discharges subject to the Department’s NPDES Municipal Stormwater Permitting Program is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 2001 to 2007 period, will require a 58 percent reduction of sources contributing to exceedances of the criteria;

(c) The LA for nonpoint sources is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 2001 to 2007 period, will require a 58 percent reduction of sources contributing to exceedances of the criteria;

(d) The Margin of Safety is implicit; and,

(e) While the LA and WLA for fecal coliform have been expressed as the percent reductions needed to attain the applicable Class III criteria, it is the combined reductions from both anthropogenic point and nonpoint sources that will result in the required reduction of in-stream fecal concentration. However, it is not the intent of the TMDL to abate natural background conditions.

(45) Swimming Pen Creek. The TMDL for Swimming Pen Creek is a 30 percent reduction in TN to address the DO and nutrient impairments, and is allocated as follows:

(a) The WLA for wastewater sources is not applicable;

(b) The WLA for discharges subject to the Department’s NPDES Municipal Stormwater Permitting Program is to address anthropogenic sources in the basin such that in-stream concentrations meet the TN target which, based on the measured concentrations from the 1973 to 2008 period, will require a 30 percent reduction of TN from sources contributing to exceedances of the DO and nutrient criteria;

(c) The LA for nonpoint sources is to address anthropogenic sources in the basin such that in-stream concentrations meet the TN target which, based on the measured concentrations from the 1973 to 2008 period, will require a 30 percent reduction of TN from sources contributing to exceedances of the DO and nutrient criteria;

(d) The Margin of Safety is implicit;

(e) While the LA and WLA for TN have been expressed as the percent reductions needed to attain the applicable Class III DO and nutrient criteria, it is the combined reductions from both anthropogenic point and nonpoint sources that will result in the required reduction of in-stream TN concentration. However, it is not the intent of the TMDL to abate natural background conditions; and,

(f) The percent reduction for TN identified in this TMDL is established to be consistent with the TMDLs for TN identified in subsections (1) and (2), of this rule. The required reductions are not additive to the extent they are protective of this waterbody and the mainstem of the Lower St. John’s River.

(46) Cormorant Branch. The TMDL for Cormorant Branch is 400 counts/100mL for fecal coliform, and is allocated as follows:

(a) The WLA for wastewater sources is not applicable;

(b) The WLA for discharges subject to the Department’s NPDES Municipal Stormwater Permitting Program is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 2001 to 2007 period, will require a 73 percent reduction of sources contributing to exceedances of the criteria;

(c) The LA for nonpoint sources is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 2001 to 2007 period, will require a 73 percent reduction of sources contributing to exceedances of the criteria;

(d) The Margin of Safety is implicit; and,

(e) While the LA and WLA for fecal coliform have been expressed as the percent reductions needed to attain the applicable Class III criteria, it is the combined reductions from both anthropogenic point and nonpoint sources that will result in the required reduction of in-stream fecal concentration. However, it is not the intent of the TMDL to abate natural background conditions.

(47) Craig Creek. The TMDL for Craig Creek is 400 counts/100mL for fecal coliform, and is allocated as follows:

(a) The WLA for wastewater sources is not applicable;

(b) The WLA for discharges subject to the Department’s NPDES Municipal Stormwater Permitting Program is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 2001 to 2007 period, will require an 87 percent reduction of sources contributing to exceedances of the criteria;

(c) The LA for nonpoint sources is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 2001 to 2007 period, will require an 87 percent reduction of sources contributing to exceedances of the criteria;

(d) The Margin of Safety is implicit; and,

(e) While the LA and WLA for fecal coliform have been expressed as the percent reductions needed to attain the applicable Class III criteria, it is the combined reductions from both anthropogenic point and nonpoint sources that will result in the required reduction of in-stream fecal concentration. However, it is not the intent of the TMDL to abate natural background conditions.

(48) Fishing Creek. The TMDL for Fishing Creek is 400 counts/100mL for fecal coliform, and is allocated as follows:

(a) The WLA for wastewater sources must meet the facility’s permit condition. The WLA is granted to Jacksonville Heights Wastewater Reclamation Facility;

(b) The WLA for discharges subject to the Department’s NPDES Municipal Stormwater Permitting Program is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 2001 to 2008 period, will require a 69 percent reduction of sources contributing to exceedances of the criteria;

(c) The LA for nonpoint sources is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 2001 to 2008 period, will require a 69 percent reduction of sources contributing to exceedances of the criteria;

(d) The Margin of Safety is implicit; and,

(e) While the LA and WLA for fecal coliform have been expressed as the percent reductions needed to attain the applicable Class III criteria, it is the combined reductions from both anthropogenic point and nonpoint sources that will result in the required reduction of in-stream fecal concentration. However, it is not the intent of the TMDL to abate natural background conditions.

(49) Greenfield Creek. The TMDL for Greenfield Creek is 400 counts/100mL for fecal coliform, and is allocated as follows:

(a) The WLA for wastewater sources is not applicable;

(b) The WLA for discharges subject to the Department’s NPDES Municipal Stormwater Permitting Program is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 2001 to 2008 period, will require a 70 percent reduction of sources contributing to exceedances of the criteria;

(c) The LA for nonpoint sources is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 2001 to 2008 period, will require a 70 percent reduction of sources contributing to exceedances of the criteria;

(d) The Margin of Safety is implicit; and,

(e) While the LA and WLA for fecal coliform have been expressed as the percent reductions needed to attain the applicable Class III criteria, it is the combined reductions from both anthropogenic point and nonpoint sources that will result in the required reduction of in-stream fecal concentration. However, it is not the intent of the TMDL to abate natural background conditions.

(50) Hopkins Creek. The TMDL for Hopkins Creek is 400 counts/100mL for fecal coliform, and is allocated as follows:

(a) The WLA for wastewater sources is not applicable;

(b) The WLA for discharges subject to the Department’s NPDES Municipal Stormwater Permitting Program is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 2001 to 2007 period, will require a 67 percent reduction of sources contributing to exceedances of the criteria;

(c) The LA for nonpoint sources is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 2001 to 2007 period, will require a 67 percent reduction of sources contributing to exceedances of the criteria;

(d) The Margin of Safety is implicit; and,

(e) While the LA and WLA for fecal coliform have been expressed as the percent reductions needed to attain the applicable Class III criteria, it is the combined reductions from both anthropogenic point and nonpoint sources that will result in the required reduction of in-stream fecal concentration. However, it is not the intent of the TMDL to abate natural background conditions.

(51) Crescent Lake. The nutrient TMDL for Crescent Lake is a seven-year average of annual loads of 462,059 kilograms per year (kg/year) TN and 26,289 kg/year TP, which are intended to achieve annual geometric mean chlorophyll a concentration of 15 µg/L not to be exceeded more than one in any three-calendar year period, and is allocated as follows:

(a) The WLA for the City of Bunnell Wastewater Treatment Facility is 5,761 kg/year for TN and 318 kg/year for TP. The WLA for Crescent City Wastewater Treatment Facility is that it must meet the facility’s NPDES permit conditions;

(b) The WLA for discharges subject to the Department’s NPDES Municipal Separate Storm Sewer System (MS4) Permitting Program is a 34% reduction of TN and a 58% reduction of TP based on average concentrations from the 2000-2013 period;

(c) The Load Allocation (LA) for nonpoint sources is a 34% reduction of TN and a 58% reduction of TP based on average loads from the 2000-2013 period; and,

(d) The Margin of Safety is implicit.

(e) While the LA and WLA for TN and TP has been expressed as the percent reduction needed to attain the applicable Class III nutrient criteria, it is the combined reductions from both anthropogenic point and nonpoint sources that will result in the restoration of nutrient conditions in the impaired waterbody. However, it is not the intent of this TMDL to abate natural background conditions.

Rulemaking Authority 403.061, 403.067 FS. Law Implemented 403.061, 403.062, 403.067 FS. History–New 12-3-03, Amended 5-15-06, 6-3-08, 7-27-09, 11-2-09, 7-21-10, 5-30-17.