Notice of Variances and Waivers

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION

Division of Hotels and Restaurants

RULE NO.:	RULE TITLE:

61C-5.001	Safety Standards

The Department of Business and Professional Regulation, Division of Hotels and Restaurants, Bureau of Elevator Safety hereby gives notice:

On May 30, 2017, the Division issued an order. The Final Order was in response to a Petition for an emergency permanent Variance from I-Drive Pedestrian Bridge, filed May 19, 2017, and advertised on May 23, 2017, in Vol.43, No.100 of the Florida Administrative Register. No comments were received in response to the petition. The Final Order on the Petition for Variance grants the Petitioner a variance from ASME A17.1, Sections 2.8.5.1 and 2.5.5.3, 2009 edition, as adopted by paragraph 61C-5.001(1)(a), Florida Administrative Code, and to allow installation of air conditioner over elevator equipment because the Petitioner has demonstrated that the purpose of the underlying statute has been met and that Petitioner would suffer a substantial hardship if required to comply with this rule (VW2017-082).

A copy of the Order or additional information may be obtained by contacting: Michelle Comingore, Division of Hotels and Restaurants, Bureau of Elevator Safety, 2601 Blair Stone Road, Tallahassee, Florida 32399-1013, dhr.elevators@myfloridalicense.com.