Notice of Variances and Waivers

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION

Division of Hotels and Restaurants

RULE NO.:	RULE TITLE:

61C-5.001	Safety Standards

The Department of Business and Professional Regulation, Division of Hotels and Restaurants, Bureau of Elevator Safety hereby gives notice:

On July 21, 2017, the Division issued an order. The Final Order was in response to a Petition for a temporary Variance from Union 700 Inc, filed June 14, 2017, and advertised on June 19, 2017 in Vol. 43, No.118, of the Florida Administrative Register. No comments were received in response to the petition. The Final Order on the Petition for Variance grants the Petitioner a variance from Rules 2.1.1(a), 2.2.3, 2.6.1, 2.6.6, 3.4.1, 3.10.4(v), A.S.M.E. A17.3, 1996 edition, as adopted by paragraph 61C-5.001(1)(a) Florida Administrative Code that requires pull straps, stop switch in pit, hoistway construction, lighting, car platform, and hoistway landing doors because the Petitioner has demonstrated that the purpose of the underlying statute has been met and that Petitioner would suffer a substantial hardship if required to comply with this rule (VW2017-091).

A copy of the Order or additional information may be obtained by contacting: Michelle Comingore, Division of Hotels and Restaurants, Bureau of Elevator Safety, 2601 Blair Stone Road, Tallahassee, Florida 32399-1013, dhr.elevators@myfloridalicense.com.