- 5J-22.002 Specifications, Tolerances and Other Technical Requirements for Weighing and Measuring Devices.

(1) The National Institute of Standards and Technology (NIST) Handbook 44, Specifications, Tolerances, and Other Technical Requirements for Weighing and Measuring Devices, 2017 Edition, is hereby adopted and incorporated by reference as the requirements for commercial weighing and measuring devices. A copy of NIST Handbook 44, 2017 Edition, may be obtained from the National Institute of Standards and Technology, 100 Bureau Drive, Gaithersburg, MD 20899-2100 or http://www.flrules.org/Gateway/reference.asp?No=Ref-08505. A copy of this handbook is also available for public inspection during regular business hours at the Florida Department of Agriculture and Consumer Services, Division of Consumer Services, Bureau of Standards, 3125 Conner Boulevard, Lab #2, Tallahassee, Florida 32399-1650, Phone: (850)921-1570.

(2) Any weighing or measuring device that fails to meet applicable tolerances, as adopted in this rule, shall be placed out of service by the department using FDACS-10988, Stop Use Order, Rev. 02/17, hereby adopted and incorporated by reference. A sample of this form can be accessed at http://www.flrules.org/Gateway/reference.asp?No=Ref-08509. Upon conformance with the requirements of this rule, the stop use order shall be released by the department using FDACS-03209, Release, Rev. 02/17, hereby adopted and incorporated by reference. A sample of this form can be accessed at http://www.flrules.org/Gateway/reference.asp?No=Ref-08515.

Rulemaking Authority 366.94, 531.40, 531.41(3) FS. Law Implemented 366.94, 531.40, 531.42 FS. History–New 8-17-17.