Notice of Variances and Waivers

DEPARTMENT OF HEALTH

Division of Environmental Health

RULE NO.:	RULE TITLE:

64E-16.007	Treatment

NOTICE IS HEREBY GIVEN that on August 14, 2017, the Department of Health received a petition for variance from Florida Administrative Code subparagraph 64E-16.007(4)(c)1, from James Panigall, Petitioner, on behalf of WasteWise, Inc. This rule prescribes that alternative treatment systems must show a satisfactory level of disinfection for the vegetative organisms listed in Table 1 and achieve a minimum Log 4 kill against Bacillus stearothermophilus spores or a minimum Log 4 kill against Bacillus Subtilis spores. The Petitioner requests a variance from the rule to allow the Petitioner to use Bacillus stearothermophilus and Mycobacterium terrae as sufficient microbiological evidence of a satisfactory level of disinfection. Comments on this petition should be filed with Shannon Revels, Agency Clerk, Department of Health, Office of General Counsel, 4052 Bald Cypress Way, BIN A02, Tallahassee, Florida 32399-1703, within 14 days of publication of this notice.

A copy of the Petition for Variance or Waiver may be obtained by contacting: Jenelle Williams, Bureau of Environmental Health, Facility Programs Section, 4052 Bald Cypress Way, BIN A08, Tallahassee, Florida 32399-1710 or by calling (850)901-6523.