Notice of Variances and Waivers

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION

Division of Hotels and Restaurants

RULE NO.:	RULE TITLE:

61C-5.001	Safety Standards

The Department of Business and Professional Regulation, Division of Hotels and Restaurants, Bureau of Elevator Safety hereby gives notice:

On November 13, 2017, the Division issued an order. The Final Order was in response to a Petition for an emergency temporary Variance from Nalbandian Properties, filed September 22, 2017, and advertised on September 28, 2017, in Vol.43, No.188, of the Florida Administrative Register. No comments were received in response to the petition. The Final Order on the Petition for Variance denies the Petitioner a variance from Rule 211.3(c), A.S.M.E. A17.1, 1987 edition, as adopted by paragraph 61C-5.001(1)(a), Florida Administrative Code, that requires Phase II Emergency In-Car Operation because the Petitioner has not established that the safeguards provided by the rule requirement are otherwise met. (VW 2017-163).

A copy of the Order or additional information may be obtained by contacting Michelle Comingore, Division of Hotels and Restaurants, Bureau of Elevator Safety, 2601 Blair Stone Road, Tallahassee, Florida 32399-1013, dhr.elevators@myfloridalicense.com.