- 61G15-33.010 Certification of Electrical Systems of Public Interest.

(1) The Engineer of Record shall, when required by applicable codes or ordinances, demonstrate verification of compliance.

(2) Verifications of compliance must include the following information, if applicable to the particular project:

(a) Energy efficiency and conservation tabulations, statements or calculations.

(b) Lighting performance criteria included in the design that show illuminated levels, intrusion, trespass, dark sky, safety or that show/preserve natural habitat tendencies.

(c) Lighting, sound pressure, or other product or installation specifications that indicate conformance with community, county, or state standards, codes or ordinances.

(3) Any such verification shall constitute an Engineering Certification as that term is defined in subsection 61G15-18.011(4), F.A.C., and must comply with all Responsibility Rules, including Rule 61G15-29.001, F.A.C.

Rulemaking Authority 471.008, 471.033(2) FS. Law Implemented 471.033 FS. History–New 11-13-08, Amended 12-4-17.