Notice of Variances and Waivers

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION

Division of Hotels and Restaurants

RULE NO.:	RULE TITLE:

61C-5.001	Safety Standards

The Department of Business and Professional Regulation, Division of Hotels and Restaurants, Bureau of Elevator Safety hereby gives notice:

On November 27, 2017, the Division issued an order. The Final Order was in response to a Petition for an emergency permanent Variance from 1597 The Greens Way, filed August 29, 2017, and advertised on August 31, 2017 in Vol.43, No. 170, of the Florida Administrative Register. No comments were received in response to the petition. The Final Order on the Petition for Variance grants the Petitioner a variance from Rules 2.1.1.6, 2.1.1.7, 2.6.5, 2.6.8, 2.7.1, and 2.10.1, A.S.M.E. A18.1, 2008 edition, as adopted by paragraph 61C-5.001(1)(a) Florida Administrative Code that requires running clearance, floor area size, a full enclosure cab, limitation of load, and operating devices requirements because the Petitioner has demonstrated that the purpose of the underlying statute has been met and that Petitioner would suffer a substantial hardship if required to comply with this rule (VW2017-150).

A copy of the Order or additional information may be obtained by contacting: Michelle Comingore, Division of Hotels and Restaurants, Bureau of Elevator Safety, 2601 Blair Stone Road, Tallahassee, Florida 32399-1013, dhr.elevators@myfloridalicense.com.