The Bureau of Elevator Safety hereby gives notice that February 9, 2006, it Issued an Order Granting Variance Request in response to a petition filed November 28, 2005 and advertised in FAW Vol. 32, No. 1, by Steve Powell of KONE, Inc. regarding 3907 Creekwood Drive in Plant City, FL (VW 2005-168). The variance granted a waiver from Rules 2.1.3.1.2(b)(1), 2.7.6 and 2.15.9.2, of ASME A17.1, 2000 Edition, as adopted by Chapter 3001.2, Florida Building  Code. The petitioner had requested to not have a machine room and to install a Monospace© Elevator System in the above project and the petition was granted as the petitioner demonstrated that this new technology provided an equivalent or greater level of safety.

A copy of the Order can be obtained from: Agency Clerk, Department of Business and Professional Regulation, 1940, North Monroe Street, Tallahassee, Florida 32399-2202.