Notice of Proposed Rule

WATER MANAGEMENT DISTRICTS

Northwest Florida Water Management District

RULE NO.:	RULE TITLE:

40A-3.011	Policy and Purpose

40A-3.021 	Definitions

40A-3.037 	Water Well Contractor Licensing

40A-3.041 	Permits Required

40A-3.051 	Exemptions

40A-3.301 	Conditions for Issuance of Permits

40A-3.341 	Disapproval of Wells

40A-3.411 	Completion Reports

40A-3.502 	Construction Methods

40A-3.504 	Location

40A-3.507 	Casing and Liner Pipe Standards

40A-3.517 	Grouting and Sealing

40A-3.901 	Forms and Instructions

PURPOSE AND EFFECT: The overall purpose is to update existing rules to delete redundant and unnecessary rules, clarify rules, incorporate referenced material, and update rule references.

SUMMARY: This rule development will cover updating existing rules to delete redundant and unnecessary rules, clarify rules, incorporate referenced material, and update rule references.

SUMMARY OF STATEMENT OF ESTIMATED REGULATORY COSTS AND LEGISLATIVE RATIFICATION:

The District has determined that this rule will not have an adverse impact on small business or likely increase directly or indirectly regulatory costs in excess of $200,000 in the aggregate within one year after the implementation of the rule. A SERC has not been prepared by the District.

The District has determined that the proposed rule is not expected to require legislative ratification based on the statement of estimated regulatory costs or if no SERC is required, the information expressly relied upon and described herein: Upon review of the proposed changes to the rule, the District has determined that the amendments will not exceed any one of the economic analysis criteria in a SERC as set forth in Section 120.541(2)(a), F.S.

Any person who wishes to provide information regarding the statement of estimated regulatory costs, or to provide a proposal for a lower cost regulatory alternative must do so in writing within 21 days of this notice.

RULEMAKING AUTHORITY (formerly “Specific Authority”): 373.026, 373.044, 373.103, 373.113, 373.171, 373.308, 373.309, 373.323, 373.326, 373.333, 373.337, FS., 62-532, F.A.C.

LAW IMPLEMENTED: 373.106, 373.109, 373.303, 373.306, 373.308, 373.309, 373.313, 373.314, 373.316, 373.319, 373.323, 373.323(2), 373.324, 373.326, 373.329, 373.333, 373.337, 373.342, FS.

IF REQUESTED WITHIN 21 DAYS OF THE DATE OF THIS NOTICE, A HEARING WILL BE SCHEDULED AND ANNOUNCED IN THE FAR:

THE PERSON TO BE CONTACTED REGARDING THE PROPOSED RULE IS: Selina Potter, Bureau Chief, Northwest Florida Water Management District, Bureau of Groundwater Regulation, 152 Water Management Drive, Havana, FL 32333, (850)539-5999, selina.potter@nwfwater.com

THE FULL TEXT OF THE PROPOSED RULE IS:

40A-3.011 Policy and Purpose.

(1) No change.

(2) The rules in this chapter implement the regulation of wells and licensing of water well contractors. through the following parts:

(a) Part I of this chapter establishes a permitting system for the location, construction, repair or abandonment of wells.

(b) Part II of this chapter establishes the minimum standards for the construction, repair, or abandonment of wells.

(c) Part IV of this chapter provides for suspension and revocation of water well contractor licenses.

(d) Part V of this chapter provides for enforcement and penalties.

(3)(e) Rules relating to water well contractor licensing are found in Chapter 62-531, F.A.C., effective 6-22-14, https://www.flrules.org/Agency/addRefResult.asp?No=Ref-09102, adopted by reference in Rule 40A-3.037, F.A.C., of these rules.

Rulemaking Authority 373.044, 373.113, 373.171, 373.309, 373.333, 373.337 FS. Law Implemented 373.306, 373.308, 373.309, 373.313, 373.316, 373.323(2), 373.324, 373.326, 373.329, 373.333, 373.342 FS. History–New 4-14-80, Amended 2-1-82, 10-1-84, 1-9-86, Formerly 16G-3.01, Amended 8-1-89,             .

40A-3.021 Definitions.

The following words and phrases, when used in these rules, shall have the following meanings, except where the context clearly indicates a different meaning:

(1) through (14) No change.

(15) “Construction of Wells” means all parts and acts necessary to obtain ground water by wells, including the location and excavation of the wells, but excluding the installation of pumps and pumping equipment.

(16) through (41) renumbered, (15) through (40) No change.

(42) “Repair” means any action which involves the physical alteration or replacement of any part of a well, but does not include the alteration or replacement of any portion of a well which is above ground surface.

(43) through (46) renumbered, (41) through (44) No change.

(47) “Well” means any excavation that is drilled, cored, bored, washed, driven, dug, jetted, or otherwise constructed when the intended use of such excavation is for the location, acquisition, development, or artificial recharge of ground water, but such term does not include any well for the purpose of obtaining or for prospecting for oil, natural gas, minerals, or products of mining or quarrying, for inserting media to dispose of oil brines or to repressure oil or natural gas-bearing formations, or for storing petroleum, natural gas, or other products; or for temporary dewatering of subsurface formations for mining, quarrying, or construction purposes.

(48) through (51) renumbered, (45) through (48) No change.

Rulemaking Authority 373.044, 373.113, 373.171, 373.309, 373.337 FS. Law Implemented 373.303, 373.306, 373.308, 373.309, 373.313, 373.316, 373.319, 373.323(2) FS. History–New 4-14-80, Amended 2-1-82, 3-29-84, 10-1-84, 1-9-86, Formerly 16G-3.02, Amended 4-5-88, 8-1-89, 12-1-90, 11-1-92, 11-1-93, 11-1-95, 7-1-98,            .

40A-3.037 Water Well Contractor Licensing.

(1) Chapter 62-531, F.A.C., which requires the licensing of water well contractors, is hereby adopted by reference and made part of this rule, effective 6-22-14, https://www.flrules.org/Agency/addRefResult.asp?No=Ref-09102. The licensing program shall be administered and enforced by the District under the authority delegated to it by the Department of Environmental Protection by Order dated July 11, 1984.

(a) Rule 62-531.300, F.A.C., Application Requirements for Water Well Contractors is hereby incorporated by reference, effective 6-22-14, https://www.flrules.org/Agency/addRefResult.asp?No=Ref-09101.

(b) Rule 62-531.450, F.A.C., Unlawful Acts, Grounds for Disciplinary Actions, and Penalties is hereby incorporated by reference, effective 6-22-14, https://www.flrules.org/Agency/addRefResult.asp?No=Ref-09100.

(2) No change.

Rulemaking Authority 373.044, 373.113, 373.323, 373.337 FS. Law Implemented 373.323 FS. History–New 10-1-84, Amended 8-1-89,           .

40A-3.041 Permits Required.

(1) Unless expressly exempted by Statute or District rule, a permit must be obtained from the District prior to construction, repair, or abandonment of a well and the well must be constructed, repaired, or abandoned by a licensed water well contractor. Any potable water well proposed within an area of ground water contamination, as delineated by the Department, will be permitted pursuant to Chapter 62-524, F.A.C., hereby incorporated by reference, effective 2-16-12, https://www.flrules.org/Agency/addRefResult.asp?No=Ref-09099.

(a) Rule 62-524.430, F.A.C., Maps Containing Delineated Areas is incorporated by reference, effective 6-27-00, https://www.flrules.org/Agency/addRefResult.asp?No=Ref-09098.

(b) Rule  62-524.550, F.A.C., Well Construction Requirements for New Potable Water Well Permitting in Delineated Areas is incorporated by reference, effective 12-9-96, https://www.flrules.org/Agency/addRefResult.asp?No=Ref-09097.

(c)	Rule 62-524.700, F.A.C., Permit Requirements for New Potable Water Wells in Delineated Areas is incorporated by reference, effective 12-9-96, https://www.flrules.org/Agency/addRefResult.asp?No=Ref-09096.

(d) Rule 62-524.740, F.A.C., Violations and Penalties for New Potable Water Wells in Delineated Areas is incorporated by reference, effective 3-25-90, https://www.flrules.org/Agency/addRefResult.asp?No=Ref-09095.

(2) No change.

(3) Permit applications shall be filed with the District on Department Form Number 62-532.900(1), State of Florida Permit Application to Construct, Repair, Modify, or Abandon a Well, hereby incorporated by reference, effective 10-7-10, https://www.flrules.org/Agency/addRefResult.asp?No=Ref-09094. NWFWMD Form No. 10, revised 11/1/95, hereby incorporated by reference. The required fee shall be submitted with the permit application. Applications to construct an artificial recharge facility shall be accompanied by a completed copy of the Application to Construct/Operate/Abandon Class I, III, or V Injection Well Systems, effective 6-24-97, Department Form Number 62-528.900(1), F.A.C., hereby incorporated by reference, effective 6-24-97, https://www.flrules.org/Agency/addRefResult.asp?No=Ref-09104 appropriate artificial recharge application,  required pursuant to Chapter 62-528, F.A.C., hereby incorporated by reference, effective 2-8-17, https://www.flrules.org/Agency/addRefResult.asp?No=Ref-09093.

(4) through (15) No change.

Rulemaking Authority 373.044, 373.113, 373.171, 373.337 FS. Law Implemented 373.106, 373.109, 373.306, 373.308, 373.309, 373.313, 373.314, 373.316, 373.337, 373.342, FS. History–New 4-14-80, Amended 4-13-81, 2-1-82, 10-7-82, 3-29-84, 1-9-86, Formerly 16G-3.04, 16G-3.11, Amended 8-1-89, 12-1-90, 2-14-91, 11-1-95, 7-1-98,

.

40A-3.051 Exemptions.

(1) through (2) no change.

(3) A water well contractor license is not required for a homeowner when he/she plans to construct a well two (2) inches or less inside diameter on his/her own or leased property, intended for use only in at a single family house which is his/her residence or intended for use only for farming purposes on his/her farm, and when the waters to be produced are not intended for use by the public or any residence other than his/her own. However, the well construction must meet all applicable standards of Chapter 40A-3, F.A.C., Part II of these rules, and the requirements for a Consumptive Use Permit, pursuant to Chapter 40A-2, F.A.C., hereby incorporated by reference, effective 4-29-15, https://www.flrules.org/Agency/addRefResult.asp?No=Ref-09092.

Rulemaking Authority 373.044, 373.113, 373.171, 373.309, 373.337 FS. Law Implemented 373.303, 373.306, 373.308, 373.309, 373.313, 373.316, 373.326 FS. History–New 4-14-80, Amended 2-1-82, 5-17-83, 3-29-84, 1-9-86, Formerly 16G-3.05, 16G-3.12, Amended 8-1-89, 12-1-90, 11-1-92, 7-1-98,             .

40A-3.301 Conditions for Issuance of Permits.

(1) No change.

(2) The issuance of a permit is dependent upon:

(a) The application being accompanied by the required fee, and containing the information required on Department Form Number 62-532.900(1), State of Florida Permit Application to Construct, Repair, Modify, or Abandon a Well, incorporated by reference in Rule 40A-3.041(3), F.A.C., effective 10-7-10, https://www.flrules.org/Agency/addRefResult.asp?No=Ref-09094.  NWFWMD Form No. 10. An application will be deemed incomplete if any portion of the application form is left blank or if the required sketch is illegible, does not provide the means to locate the proposed well, or is not consistent with the land coordinates provided in the application.

(b) through (f) No change.

(3) A permit may be granted with certain conditions or restrictions, such as:

(a) Collection and submittal of gGeologic samples required;

(b) No change.

(c) Conducting and submitting data from an aquifer performance test Pumping test required;

(d) through (h) No change.

(i) Grouting notification inspection required;

(j) No change.

(k) Water quality sampling and data submittal required;

(l) through (n) No change.

(4) No change.

Rulemaking Authority 373.044, 373.113, 373.171, 373.309, 373.337 FS. Law Implemented 373.109, 373.306, 373.308, 373.309, 373.313, 373.323, FS. History–New 4-14-80, Amended 2-1-82, 10-7-82, 5-17-83, 3-29-84, 1-9-86, Formerly 16G-3.30, 16G-3.14, Amended 8-1-89, 11-1-92, 11-1-95, 7-1-98,                 .

40A-3.341 Disapproval of Wells.

(1) The District shall may disapprove any water well or abandoned well if the District finds, after inspection, that the well does not comply with the provisions of this chapter.

(2) The District shall may disapprove any well if the well is determined not to be suitable for the intended use identified in the application submitted to the District or if the well represents a threat to the water resources, or if the well is determined by the Department of Environmental Protection or the Department of Health and Rehabilitative Services to pose a threat to the health, safety, or welfare of the user.

(3) No change.

Rulemaking Authority 373.044, 373.113, 373.171, 373.309, 373.337 FS. Law Implemented 373.306, 373.308, 373.309, 373.319 FS. History–New 4-14-80, Amended 4-13-81, 2-1-82, 10-1-84, Formerly 16G-3.34, 16G-3.18, Amended 8-1-89, 7-1-98,              .

40A-3.411 Completion Reports.

(1) through (2) No change.

(3) Department Form Number 62-532.900(2), State of Florida Permit Well Completion Report, hereby incorporated by reference, effective 10-7-10, https://www.flrules.org/Agency/addRefResult.asp?No=Ref-09091, NWFWMD Form 114 shall be used to report the completion of construction, repair, or abandonment of any well within District jurisdiction.

(4) through (5) no change.

Rulemaking Authority 373.044, 373.113, 373.171, 373.309, 373.337 FS. Law Implemented 373.308, 373.309, 373.313 FS. History–New 4-14-80, Amended 5-17-83, 1-9-86, Formerly 16G-3.41, 16G-3.15, Amended 8-1-89, 11-1-95,               .

40A-3.502 Construction Methods.

(1) Wells must be so constructed, cased, grouted, plugged, capped, or sealed as to prevent uncontrolled surface flow, uncontrolled movement of water from one aquifer or zone to another, contamination of ground water or surface water resources, or other adverse impacts. The foregoing shall apply to all construction, repair or abandonment of wells in the District except for public water supply wells, which shall be constructed, repaired, or abandoned in accordance with Chapter 62-555, F.A.C., herby incorporated by reference, effective 11-26-15, https://www.flrules.org/Agency/addRefResult.asp?No=Ref-09090.

(2) The well construction regulations promulgated by the Department governing the construction of potable wells in delineated areas, as set forth in Chapter 62-524, F.A.C., effective 2-16-12, https://www.flrules.org/Agency/addRefResult.asp?No=Ref-09099, and incorporated by reference in Rule 40A-3.041(1), F.A.C., are hereby adopted by reference and made a part of this rule, and shall apply to all potable wells constructed, altered, repaired, or abandoned in those delineated areas of the District.

Rulemaking Authority 373.044, 373.113, 373.171, 373.309, 373.337 FS. Law Implemented 373.306, 373.308, 373.309 FS. History–New 1-9-86, Amended 12-1-90, 2-19-91, 11-1-95,          .

40A-3.504 Location.

(1) through (2) No change.

(3) The following minimum distances shall apply, unless an exemption has been obtained:. The following list is not inclusive or exhaustive, and further reference to Chapters 62-524, 62-550, 62-555, 62-610, 64E-6 and 64E-8, F.A.C., should be made.

(a) through (f) No change.

(g) Limited Use Public Supply wells, constructed under the provisions of Chapter 62-532 64E-8, F.A.C., hereby incorporated by reference, effective 10-7-10, https://www.flrules.org/Agency/addRefResult.asp?No=Ref-09103, shall be located a minimum distance of one hundred (100) feet from a sanitary hazard, such as an onsite sewage disposal system (OSDS), if the sewage flow is less than 2000 gallons per day or 200 feet from an OSDS with sewage flows of 2000 gallons per day or more.

(h) Limited Use Public Supply wells, constructed under the provisions of Chapter 62-532 64E-8, F.A.C., effective 10-7-10, https://www.flrules.org/Agency/addRefResult.asp?No=Ref-09103, and incorporated by reference in Rule 40A-3.504(3)(g), F.A.C., within ground water contamination areas delineated by the Department of Environmental Protection shall be located as specified in Rule 62-524.500, F.A.C., which is incorporated by reference in Rule 40A-3.041(1), F.A.C. The delineated areas are found in Rule 62-524.430, F.A.C., effective 6-27-00, https://www.flrules.org/Agency/addRefResult.asp?No=Ref-09098, and incorporated by reference in Rule 40A-3.041(1)(a), F.A.C.

(i) Public water supply wells constructed under provisions of Chapter 62-532 62-555, F.A.C., effective 10-7-10, https://www.flrules.org/Agency/addRefResult.asp?No=Ref-09103, and incorporated by reference in Rule 40A-3.504(3)(g), F.A.C., DEP Public Supply Wells, must be located a minimum distance of two hundred (200) feet from a sanitary hazard, such as an onsite sewage disposal system (OSDS).

(j) through (m) No change.

(4) through (6) No change.

Rulemaking Authority 373.026, 373.044, 373.103, 373.113, 373.171, 373.308, 373.309, 373.326, 373.337 FS. Law Implemented 373.306, 373.308, 373.309, 373.326 FS. History–New 1-9-86, Amended 4-5-88, 8-1-89, 12-1-90, 2-19-91, 11-1-92, 11-1-93, 11-1-95,                      .

40A-3.507 Casing and Liner Pipe Standards.

(1) For the construction of water wells, well contractors shall comply with the well casing, liner pipe, coupling, and well screen requirements in Rule 62-532.500(1), F.A.C., which is incorporated by reference in Rule 40A-3.504(3)(g), F.A.C. Well casing and liner pipe shall be new or shall be pipe or casing in like-new condition. Such casing or pipe shall not be used unless free from leaks, breaks, corrosion, and dents; is straight and true; and is not out of round. Welded or seamless black or galvanized steel pipe or casing, or stainless steel pipe or casing, or approved types of nonmetallic pipe shall be used for well or liner pipe. All well casing shall meet and be clearly stamped with one of the following standards: (ASTM) A120-84, (ASTM) A53-89A, (ASTM) A589-89A, (ASTM) A-252-89, A135-89A; or (API) 5L-6/91. Well casing that conforms to any of the aforementioned ASTM or API standards must also conform to (ANSI/ASME) B-36.10M-85. All well casing shall be stenciled with the applicable standard no later than January 1, 1994. All well casing or liner pipe proposed for potable use placed into service on or after January 1, 1994, shall conform to NSF Standard 61-1991, National Sanitation Foundation, Post Office Box 1468, Ann Arbor, Michigan, 48106, as certified by an entity approved by the American National Standards Institute (ANSI).

(2) No change.

(3) Well casing installed by driving shall not have less than the dimensions and weights specified in Table 1, and the requirements of paragraph 62-532.500(1)(b), F.A.C., which is incorporated by reference in Rule 40A-3.504(3)(g), F.A.C. unless it can be shown the casing will maintain its integrity so as to prevent degradation of the water resource. The Department of Environmental Protection, under the provisions of paragraph 62-532.500(1)(f), F.A.C., requires all alternative well casing, not listed in Table 1 to receive Department approval prior to use. Prior approval for the use of alternative materials shall also be obtained from the District.

TABLE 1

MINIMUM NOMINAL DIMENSIONS AND WEIGHTS FOR BLACK OR GALVANIZED STEEL

CASING OR LINER PIPE INSTALLED BY DRIVING

| Nominal | Outside | Wall | Plain End |
| --- | --- | --- | --- |
| Size | Diameter | Thickness | Weight |
| (in.) | (in.) | (in.) | (lb. ft.) |
| 1.25 | 1.660 | 0.140 | 2.27 |
| 1.5 | 1.900 | 0.145 | 2.72 |
| 2 | 2.375 | 0.154 | 3.65 |
| 3 | 3.500 | 0.216 | 7.58 |
| 3.5 | 4.000 | 0.226 | 9.11 |
| 4 | 4.500 | 0.237 | 10.79 |
| 5 | 5.563 | 0.258 | 14.62 |
| 6 | 6.625 | 0.280 | 18.97 |
| 8 | 8.625 | 0.277 | 24.70 |
| 10 | 10.750 | 0.307 | 34.24 |
| 12 | 12.750 | 0.330 | 43.77 |
| 14-30 |  | 0.375 (standard wall, Schedule 40) |  |
| Greater than 30 |  | 0.500 (standard wall, Schedule 40) |  |

Note: A 4 inch nominal size casing with a wall thickness of 0.188 and a plain end weight of 8.66 may be used if it conforms to standard API 5L-6/91, Grade B, 60 KSI tensile strength. For example A53-89Aa, Grade B, may also be substituted.

(4) No change.

(5) For the construction of water wells using PVC casing, well contractors shall comply with the requirements of paragraph 62-532.500(1)(e), F.A.C., which is incorporated by reference in Rule 40A-3.504(3)(g), F.A.C. Polyvinyl Chloride (PVC) pipe may be used for well casing or liner pipe. Any PVC pipe used to construct a water well shall have been marked by the manufacturer, under a method specified by the National Sanitation Foundation, Post Office Box 1468, Ann Arbor, Michigan, 48106, in ANSI-NSF Standard 14-1990, as suitable for use in potable water systems. Any PVC pipe used for well construction or repair shall, at a minimum, meet specifications for Standard Dimension Ratio (SDR 21) and have a working pressure rating of not less than 200 p.s.i. at 73 degrees F or shall be ASA Schedule 40. Other nonmetallic pipe shall not be used unless it can be shown the pipe will maintain its integrity so as to prevent degradation of the water resource. The Department of Environmental Protection, under the provisions of paragraph 62-532.500(1)(f), F.A.C., requires all other nonmetallic well casing to receive Department approval prior to use. Prior approval for the use of alternative materials shall also be obtained from the District.

(6) through (7) No change.

Rulemaking Authority 373.044, 373.113, 373.171, 373.309, 373.337 FS. Law Implemented 373.308, 373.309 FS. History–New 1-9-86, Formerly 40A-3.701(1)(a), Amended 4-5-88, 8-1-89, 12-1-90, 11-1-92,                    .

40A-3.517 Grouting and Sealing.

Wells shall be grouted and sealed to protect the water resource from degradation caused by movement of waters along the well annulus either from the surface to the aquifer or between aquifers, and to prevent loss of artesian pressure in artesian aquifers. All wells shall be constructed and sealed using a method which insures that an open or unnaturally permeable annular space does not remain when a well is completed.

(1) Rotary wells located south of grout line. The grout line is established in a Florida Department of Environmental Regulation Grout Exemption Letter, effective 9-10-1980, http://www.flrules.org/Gateway/reference.asp?No=Ref-08941, and is hereby incorporated by reference and can be obtained from the District’s website (nwfwater.com) or from District offices upon request. Wells constructed by the rotary method and located south of the grout line established in Appendix I of these rules shall have an annular space between the casing and the borehole wall of not less than two inches and shall be sealed according to the following criteria:

(a) through (c) No change.

(2) Rotary wells located north of the grout line. The grout line is established in a Florida Department of Environmental Regulation Grout Exemption Letter, effective 9-10-1980, http://www.flrules.org/Gateway/reference.asp?No=Ref-08941, and is incorporated by reference in Rule 40A-3.517(1), F.A.C., and can be obtained from the District’s website (nwfwater.com) or from District offices upon request. Wells constructed by the rotary method and located north of the grout line established in Appendix I of these rules shall have an annular space between the casing and the borehole wall of not less than two inches and shall be sealed according to the following criteria:

(a) through (d) No change.

(3) through (6) No change.

Rulemaking Authority 373.044, 373.113, 373.171, 373.309, 373.337 FS. Law Implemented 373.306, 373.308, 373.309 FS. History–New 1-9-86, Formerly 40A-3.701(2)(e), Amended 8-10-87, 4-5-88, 8-1-89, 12-1-90, 11-1-92, 11-1-93,                   .

40A-3.901 Forms and Instructions.

The following District forms are used in the implementation of this chapter and are hereby incorporated by reference into this rule.

(1) DEP Form 62-532.900(1), effective 10-7-10, http://www.flrules.org/Gateway/reference.asp?No=Ref-09094, and incorporated by reference in Rule 40A-3.041(3), F.A.C. NWFWMD Form 10; Application to Construct, Repair, or Abandon a Well (Effective 11-1-95).

(2) DEP Form 62-532.900(2), effective 10-7-10, http://www.flrules.org/Gateway/reference.asp?No=Ref-09091, and incorporated by reference in Rule 40A-3.411(3), F.A.C. NWFWMD Form 114; Well Completion Report (Effective 11-1-95).

(3) NWFWMD Form No. 88; Application for Water Well Contractor License, (Effective 6-22-89);

(4) NWFWMD Form 122; Request For Below Grade Well Casing Approval, eEffective 11-1-92), http://www.flrules.org/Gateway/reference.asp?No=Ref-08942, and incorporated by reference in Rule 40A-3.512(8), F.A.C.

Forms Necessary forms may be obtained from:

District Headquarters, 152 Water Management Drive, Havana, FL 32333-9700, (850)539-5999;

Crestview Field Office, 180 East Redstone Avenue, Crestview, FL 32539, (850)683-5048.

Rulemaking Authority 373.044, 373.113, 373.171, 373.309, 373.337 FS., 62-532, F.A.C. Law Implemented 373.306, 373.308, 373.309 FS. History–New 4-14-80, Amended 10-27-80, 2-1-82, 1-9-86, Formerly 16G-3.90, Amended 8-1-89, 12-1-90, 2-14-91, 11-1-92, 11-1-93, 11-1-95,___________.

NAME OF PERSON ORIGINATING PROPOSED RULE: Selina Potter, Bureau Chief, Bureau of Groundwater Regulation

NAME OF AGENCY HEAD WHO APPROVED THE PROPOSED RULE: Governing Board, Northwest Florida Water Management District

DATE PROPOSED RULE APPROVED BY AGENCY HEAD: August 10, 2017

DATE NOTICE OF PROPOSED RULE DEVELOPMENT PUBLISHED IN FAR: October 27, 2017