- 61G1-25.001 General Responsibility.

Architects offering threshold building inspection services pursuant to Section 553.79, F.S., shall provide inspections in accordance with the structural inspection plan provided by the engineer or architect of record to insure compliance with permitted documents.

Rulemaking Authority 481.2055, 481.225 FS. Law Implemented 481.213(7) FS. History–New 5-23-01.