Notice of Declaratory Statement

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION

Florida Building Commission

RULE NO.:	RULE TITLE:

61G20-1.001	Florida Building Code Adopted

NOTICE IS HEREBY GIVEN that the Florida Building Commission has received the petition for declaratory statement from National Home Service Contract Association. The petition seeks the agency’s opinion as to the applicability of section R501.7, Florida Building Code, Building (2017) as it applies to the petitioner.

Petitioner seeks clarification about whether the Florida Building Code requires an entire HVAC system to be replaced and brought up to current SEER rating requirements when only part of it is otherwise non-functioning, and whether a compatible indoor evaporator coil must be replaced when an outdoor condenser/compressor unit is being replaced and upgraded to a higher SEER rating.

A copy of the Petition for Declaratory Statement may be obtained by contacting: the Agency Clerk’s Office, Department of Business and Professional Regulation, 2601 Blair Stone Road, Tallahassee, Florida 32399, (850)921-0342, AGC.Filing@myfloridalicense.com.

Please refer all comments to: Mo Madani, Building Codes and Standards Office, Department of Business and Professional Regulation, 2601 Blair Stone Road, Tallahassee, Florida 32399, (850)487-1824, mo.madani@myfloridalicense.com or W. Justin Vogel, Office of the General Counsel, Department of Business and Professional Regulation, 2601 Blair Stone Road, Tallahassee, Florida 32399, (850)717-1795, wjustin.vogel@myfloridalicense.com.

RESPONSES, MOTIONS TO INTERVENE, OR REQUESTS FOR A HEARING MUST BE FILED WITHIN 21 DAYS OF THIS NOTICE.