Notice of Variances and Waivers

DEPARTMENT OF ENVIRONMENTAL PROTECTION

RULE NO.:	RULE TITLE:

62-699.310:	Classification and Staffing of Domestic Wastewater or Water Treatment Plants and Water Distribution Systems

The Department of Environmental Protection hereby gives notice that on March 8, 2018, the Department issued a Final Order granting Central Florida Bible Camp Waste Water Treatment Facility’s Petition for Variance. The Petition was received on January 8, 2018. Notice of Receipt of this Petition was published in the Florida Administrative Register on January 18, 2018. The petition requested a variance from subparagraph 62-699.310(2)(a).1, F.A.C., which requires staffing by a Class C or higher operator 1 hour per day, 5 days per week. The Petitioner requests that staffing be reduced to 30 minutes/day for 5 days/week from June 1 through August 31, and to two 30-minute visits per week, on non-consecutive days, from September 1 through May 31. One public comment was received on January 23, 2018, concerning reduced staffing at wastewater treatment facilities. The Order, File No. FLA010566; OGC No. 18-0027, granted the Petition to subparagraph 62-699.310(2)(a)1., F.A.C., based on the foregoing, Petitioner has demonstrated that it meets the requirements for a variance and that the purpose of the underlying statute will be achieved by other means.

A copy of the Order or additional information may be obtained by contacting Charles LeGros, Central District, Department of Environmental Protection, 3319 Maquire Boulevard, Suite 232, Orlando, Florida 32803-3767, (407)897-4158, Charles.LeGros@dep.state.fl.us, during normal business hours, 8:00 a.m. – 5:00 p.m.., Monday through Friday, except legal holidays.