- 40C-3.301 Conditions for Issuance of Permits.

(1) In order to obtain a permit under this chapter an applicant must submit a permit application as specified in Rule 40C-3.101, F.A.C.

(2) The non-refundable permit application fee established in Rule 40C-1.603, F.A.C., or the fee schedule established by the agency to which permitting authority has been delegated, as identified in Rule 40C-3.035, F.A.C., shall accompany the original application.

(3) The applicant must certify that the proposed well will be constructed, repaired or abandoned in compliance with the criteria set forth in Part II of this chapter, which includes Chapter 62-532, F.A.C., which is incorporated by reference in subsection 40C-3.036(2), F.A.C.

(4) A consumptive use permit, if applicable under Chapter 40C-2, F.A.C., must have already been obtained.

(5) The proposed well must not adversely affect the water resources of the District.

(6) The applicant or water well contractor shall not have overdue or incomplete well completion reports after May 7, 2018.

(7) The application must be complete and must meet the requirements of Chapter 373, F.S., and this chapter.

Rulemaking Authority 373.044, 373.113 FS. Law Implemented 373.103, 373.306, 373.308, 373.309, 373.313, 373.342 FS. History–New 10-14-84, Formerly 40C-3.301, 40C-3.0301, Amended 9-17-89, 7-27-16, 5-7-18.