Notice of Declaratory Statement

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION

Florida Building Commission

RULE NO.:	RULE TITLE:

61G20-1.001	Florida Building Code Adopted

NOTICE IS HEREBY GIVEN that the Florida Building Commission has received the petition for declaratory statement from the City of Winter Park. The petition seeks the agency's opinion as to the applicability of section R405.4.2.2, Florida Building Code, Energy Conservation, 6th Edition (2017), as it applies to the petitioner.

Petitioner seeks clarification about the requirements for energy compliance reports for certificates of occupancy. Specifically: 1) Whether “indicating that the building passes the performance matrix” constitutes the same task as confirming the as-proposed design from R405.3; 2) Whether the information submitted for R405.4.2.1 (compliance report for permit application) may be used for the purposes of R405.4.2.2 (compliance report for certificate of occupancy); 3) Whether the building department needs to request the as-built compliance report if there has been no change to the proposed design during the course of construction and all required inspections to verify compliance have been performed; and 4) Whether the building department needs to request the as-built compliance report if there have been changes to the proposed design during the course of construction, but the compliance report is amended and submitted for review and approval prior to conducting the required inspections.

A copy of the Petition for Declaratory Statement may be obtained by contacting: the Agency Clerk’s Office, Department of Business and Professional Regulation, 2601 Blair Stone Road, Tallahassee, Florida 32399, (850)921-0342, AGC.Filing@myfloridalicense.com.

Please refer all comments to: Mo Madani, Building Codes and Standards Office, Department of Business and Professional Regulation, 2601 Blair Stone Road, Tallahassee, Florida 32399, (850)487-1824, mo.madani@myfloridalicense.com or W. Justin Vogel, Office of the General Counsel, Department of Business and Professional Regulation, 2601 Blair Stone Road, Tallahassee, Florida 32399, (850)717-1795, wjustin.vogel@myfloridalicense.com.

RESPONSES, MOTIONS TO INTERVENE, OR REQUESTS FOR A HEARING MUST BE FILED WITHIN 21 DAYS OF THIS NOTICE.