- 40C-41.043 Application of Chapter.

(1) All projects located within the Upper St. Johns River Hydrologic Basin, the Oklawaha River Hydrologic Basin, the Wekiva River Hydrologic Basin, the Wekiva Recharge Protection Basin, the Econlockhatchee River Hydrologic Basin, the Tomoka River Hydrologic Basin, the Spruce Creek Hydrologic Basin, the Sensitive Karst Areas Basin, or the Lake Apopka Hydrologic Basin, requiring permits pursuant to paragraphs 62-330.020(2)(a), (b), (c), (d), (e), (f), (g), (h) or (j) or section 1.2.2, “Environmental Resource Permit Applicant’s Handbook Volume II: For Use Within the Geographic Limits of the St. Johns River Water Management District” as incorporated by reference in paragraph 40C-4.091(1)(a), F.A.C., shall be constructed, operated, maintained, altered, abandoned and removed in accordance with the standards and criteria specified in rule 40C-41.063, and rules 62-330.301 and 62-330.302, F.A.C., unless specifically exempted in rule 40C-41.051, F.A.C., or otherwise provided in subsection 40C-41.043(3) or 40C-41.043(4), F.A.C. The most restrictive criteria will be applicable unless the applicant provides reasonable assurance that the purposes and intent of this chapter and chapter 62-330, F.A.C., will be fulfilled using alternate criteria.

(2) Stormwater management systems requiring permits pursuant to rule 62-330.020, F.A.C., that will be located within the Lake Apopka Hydrologic Basin or will discharge water to Lake Apopka or its tributaries, shall be constructed, operated, maintained, altered, abandoned and removed in accordance with the standards and criteria specified in rules 62-330.301 and 62-330.302, F.A.C. and subsection 40C-41.063(8), F.A.C.

(3) Agricultural surface water management systems requiring permits pursuant to Rule 40C-44.041, F.A.C., that will be located within the Lake Apopka Hydrologic Basin or will discharge water to Lake Apopka or its tributaries, shall be constructed, operated, maintained, altered, abandoned and removed in accordance with the standards and criteria specified in Rule 40C-44.301, F.A.C., and subsection 40C-41.063(8), F.A.C.

(4) Agricultural surface water management systems requiring permits pursuant to Rule 40C-44.041, F.A.C., that will be located within the Wekiva Recharge Protection Basin, shall be constructed, operated, maintained, altered, abandoned and removed in accordance with the standards and criteria specified in rule 40C-44.301, F.A.C. and paragraph 40C-41.063(3)(a), F.A.C.

(5) The Governing Board hereby incorporates by reference Part VI (sections 13.0-13.8.3), “Basin Criteria” of the document entitled “Environmental Resource Permit Applicant’s Handbook, Volume II: For Use Within the Geographic Limits of the St. Johns River Water Management District,” (June 1, 2018), available at [https://www.flrules.org/Gateway/reference.asp?No=Ref-06352], and upon request from the St. Johns River Water Management District, 4049 Reid Street, Palatka Florida 32177-2529.

Rulemaking Authority 369.318, 373.044, 373.113, 373.4131, 373.414, 373.415, 373.418 FS. Law Implemented 369.318, 373.413, 373.4131, 373.414, 373.415, 373.416, 373.418, 373.426, 373.461 FS. History–New 12-7-83, Amended 5-17-87, 8-30-88, 4-3-91, 9-25-91, 10-3-95, 11-25-98, 3-7-03, 12-3-06, 10-1-13, 6-1-18.