- 5J-20.048 Storage of Cylinders Awaiting Use, Resale, or Exchange.

(1) All cylinders awaiting use, resale, or exchange at a location open to the public shall be stored in storage units meeting the requirements of Chapter 8, NFPA 58 as incorporated by reference in Rule 5J-20.002, F.A.C.

(2) The following signs shall be affixed to the front of the unit and all approachable sides: “Propane” or “Flammable Gas,” and “No Smoking” or the universally-recognized symbol for “no smoking.” Signs shall not be faded or unreadable.

(3) The servicing dealer’s name and emergency telephone number(s) shall be prominently posted on the front of the unit. For purposes of this rule, the “front” shall be the part of the unit most likely to be approached by the public.

Rulemaking Authority 527.06 FS. Law Implemented 527.06(2) FS. History–New 2-5-91, Formerly 4B-1.035, Amended 7-20-95, 7-28-14, Formerly 5F-11.048, Amended 6-27-18.